## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2007-2
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2007-05-30 08:00 | 2007-06-05 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
2 | 2007-06-06 08:00 | 2007-06-12 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
|  |  | 0 | Recovery from beam loss [OA] | 105264 |  | 2007-06-13 08:00 | 2007-06-13 08:14 | 0.23333 | 0.23333 | OA | OA | OA | Inhibits Beam To User |  |  |  | 1 | 1
3 | 2007-06-13 08:14 | 2007-06-13 11:06 | 2.8667 | Com-Ed Power Bump[OTHER] | 105266 |  | 2007-06-13 11:06 | 2007-06-13 12:24 | 1.3 | 1.3 | ComEd | CF | OTHER | Store Lost |  | 1 |  |  | 1
4 | 2007-06-13 12:24 | 2007-06-13 20:48 | 8.4 | S40 RF Cav.2 Vacuum [RF] | 105267 |  | 2007-06-13 20:48 | 2007-06-13 21:12 | 0.4 | 0.4 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
5 | 2007-06-13 21:12 | 2007-06-17 05:13 | 80.0167 | S23B:Q2 P.S. trip [PS] | 105268 |  | 2007-06-17 05:13 | 2007-06-17 06:36 | 1.3833 | 1.3833 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
6 | 2007-06-17 06:36 | 2007-06-18 08:00 | 25.4 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 116.6833 | [5 empty] | 3.3167 | 3.3167 | [8 empty] | 0
7 | 2007-06-20 08:00 | 2007-06-22 03:19 | 43.3167 | GESPAC Failure [PS] | 105271 |  | 2007-06-22 03:19 | 2007-06-22 05:47 | 2.4667 | 2.4667 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
8 | 2007-06-22 05:47 | 2007-06-26 08:00 | 98.2167 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 141.5333 | [5 empty] | 2.4667 | 2.4667 | [8 empty] | 0
9 | 2007-06-27 08:00 | 2007-06-29 06:36 | 46.6 | RF IG Contr.failed [MOM] | 105272 |  | 2007-06-29 06:36 | 2007-06-29 08:45 | 2.15 | 2.15 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
10 | 2007-06-29 08:45 | 2007-06-29 12:49 | 4.0667 | Steering PS problem CTL] | 105273 |  | 2007-06-29 12:49 | 2007-06-29 13:29 | 0.66667 | 0.66667 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
11 | 2007-06-29 13:29 | 2007-06-30 21:43 | 32.2333 | RF4 Power Mon. Trip [RF] | 105274 |  | 2007-06-30 21:43 | 2007-06-30 22:39 | 0.93333 | 0.93333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
12 | 2007-06-30 22:39 | 2007-07-01 09:25 | 10.7667 | S21 P.S. problem [PS] | 105275 |  | 2007-07-01 09:25 | 2007-07-01 10:20 | 0.91667 | 0.91667 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
13 | 2007-07-01 10:20 | 2007-07-03 15:33 | 53.2167 | S40 RF Cav. Vacuum [RF] | 105276 |  | 2007-07-03 15:33 | 2007-07-03 16:34 | 1.0167 | 1.0167 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
14 | 2007-07-03 16:34 | 2007-07-04 08:00 | 15.4333 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 162.3167 | [5 empty] | 5.6833 | 5.6833 | [8 empty] | 0
15 | 2007-07-05 08:00 | 2007-07-05 21:04 | 13.0667 | Faulty rack fan [MOM] | 105278 |  | 2007-07-05 21:04 | 2007-07-05 23:11 | 2.1167 | 2.1167 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
16 | 2007-07-05 23:11 | 2007-07-10 08:00 | 104.8167 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 117.8833 | [5 empty] | 2.1167 | 2.1167 | [8 empty] | 0
17 | 2007-07-11 08:00 | 2007-07-15 08:53 | 96.8833 | Failed RF3 Kalmus [RF] | 105282 |  | 2007-07-15 08:53 | 2007-07-15 10:24 | 1.5167 | 1.5167 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
18 | 2007-07-15 10:24 | 2007-07-15 22:26 | 12.0333 | GESPAC PS Failure [PS] | 105283 |  | 2007-07-15 22:26 | 2007-07-16 02:01 | 3.5833 | 3.5833 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
19 | 2007-07-16 02:01 | 2007-07-16 07:59 | 5.9667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 114.8833 | [5 empty] | 5.1 | 5.1 | [8 empty] | 0
20 | 2007-07-18 08:00 | 2007-07-18 23:10 | 15.1667 | Power bump [OTHER] | 105285 |  | 2007-07-18 23:10 | 2007-07-19 04:30 | 5.3333 | [9 empty] | 0
[7 empty] | 2007-07-18 23:10 | 2007-07-19 04:10 |  | 5 | IT | IT | IT | Store Lost | UPS failed and took down ACIS | 1
[7 empty] | 2007-07-19 04:10 | 2007-07-19 04:30 |  | 0.33333 | PS | PS | PS | Inhibits Beam To User |  |  |  | 1
21 | 2007-07-19 04:30 | 2007-07-24 08:00 | 123.5 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 138.6667 | [5 empty] | 5.3333 | 5.3333 | [8 empty] | 0
22 | 2007-07-25 08:00 | 2007-07-25 10:56 | 2.9333 | VXI P.S. failure [RF] | 105288 |  | 2007-07-25 10:56 | 2007-07-25 12:38 | 1.7 | 1.7 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
23 | 2007-07-25 12:38 | 2007-07-30 12:02 | 119.4 | Bld450 Breaker Trip[FMS] | 105290 |  | 2007-07-30 12:02 | 2007-07-30 17:45 | 5.7167 | 5.7167 | PFS | CF | PFS | Store Lost |  | 1 |  |  | 1
25 | 2007-07-30 17:45 | 2007-07-31 08:00 | 14.25 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 136.5833 | [5 empty] | 7.4167 | 7.4167 | [8 empty] | 0
26 | 2007-08-01 08:00 | 2007-08-05 18:15 | 106.25 | Tornado Warning |  |  | 2007-08-05 18:15 | 2007-08-05 18:46 | 0.51667 | 0.51667 | Other | Other | Other | Inhibits Beam To User |  |  |  | 1 | 1
27 | 2007-08-05 18:46 | 2007-08-07 08:00 | 37.2333 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 143.4833 | [5 empty] | 0.51667 | 0.51667 | [8 empty] | 0
28 | 2007-08-08 08:00 | 2007-08-08 18:33 | 10.55 | RTFB IOC reboot [OA] | 105298 |  | 2007-08-08 18:33 | 2007-08-08 18:58 | 0.41667 | 0.41667 | OA | OA | OA | Store Lost |  | 1 |  |  | 1
29 | 2007-08-08 18:58 | 2007-08-09 02:57 | 7.9833 | S40 RF Cav Vac Fault[RF] | 105300 |  | 2007-08-09 02:57 | 2007-08-09 04:07 | 1.1667 | 1.1667 | RF | RF | RF | Store Lost | 2nd RF Cav.Vac. trip in <1hr., reset, refilled | 1 |  |  | 1
31 | 2007-08-09 04:07 | 2007-08-14 08:00 | 123.8833 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 142.4167 | [5 empty] | 1.5833 | 1.5833 | [8 empty] | 0
32 | 2007-08-15 08:00 | 2007-08-21 16:40 | 152.6667 | S3A:Q5:PS trip [PS] | 105303 |  | 2007-08-21 16:40 | 2007-08-21 17:43 | 1.05 | 1.05 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
33 | 2007-08-21 17:43 | 2007-08-22 05:11 | 11.4667 | S3A:Q5:PS trip [PS] | 105304 |  | 2007-08-22 05:11 | 2007-08-22 05:53 | 0.7 | 0.7 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
34 | 2007-08-22 05:53 | 2007-08-23 08:00 | 26.1167 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 190.25 | [5 empty] | 1.75 | 1.75 | [8 empty] | 0
|  | Number of Lost Fills | 19 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 13 | [5 empty] | User | System
|  | Number of Fills | 32 | [5 empty] | 35.2833 | 35.2833 | [5 empty] | 19 | 12 | 3 | 34
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1692.7 | 70.5292 | User Beam days
|  | Total User Downtime | 35.2833 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1727.9833
31
|  | Mean Time Between Faults | 89.0895
|  | Faults/Day of Delivered Beam | 0.26939 | [13 empty] | #REF!
|  | X-ray Availability | 97.96% | [13 empty] | #REF!
2

## Stats
Group
Data | CTL | OTHER | PS | RF | MOM | PFS | OA | IT | Grand Total
Sum of Inhibits Beam | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 3
Sum of Intention. Dump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum of Store Lost | 1 | 1 | 6 | 6 | 2 | 1 | 1 | 1 | 19
Sum of System Length | 0.66667 | 1.8167 | 10.4333 | 6.7333 | 4.2667 | 5.7167 | 0.65 | 5 | 35.2833
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Unidentified | Network | Grand Total | Total Hours
Hours for Run | 6.7333 |  | 10.4333 | 0.66667 |  |  |  | 4.2667 | 0.65 |  |  |  | 5.7167 |  | 1.8167 |  | 5 | 35.2833
Run 2007-2 | 0.3897% |  | 0.6038% | 0.03858% |  |  |  | 0.2469% | 0.03762% |  |  |  | 0.3308% |  | 0.1051% |  | 0.2894% | 2.042%
Budget | 0.9% | 0.2% | 0.9% | 0.5% | 0.1% | 0.1% | 0.1% | 0.6% | 0.2% | 0% | 0.1% | 0.1% | 0.3% | 0.1% | 0.3% | 0.1% | 0.1% | 4.6%
Faults | 6 |  | 6 | 1 |  |  |  | 2 | 1 |  |  |  | 1 |  | 1 |  | 1 | 19
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Unidentified | Network
Run 2007-2 | 0.085071 | 0 | 0.085071 | 0.014179 | 0 | 0 | 0 | 0.028357 | 0.014179 |  | 0 | 0 | 0.014179 |  |  | 0 | 0.014179 | 0.26939
Budget | 0.12 | 0.03 | 0.1 | 0.05 | 0.01 | 0.01 | 0.02 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.01 | 0.51
Total User Beam | 1692.7
Total Schedule Run Length | 1727.9833

## Downtime
Downtime Budget
0.90% RF
0.20% Diagnostics
0.90% PS
0.50% Controls
0.10% Accelerator Intlks
0.10% Beamline Intlks
0.10% Radiation Intlks
0.30% Water/ME
0.30% Vacuum
0.10% Operations
0.10% Software
0.00% Physics
0.10% ID-FE
0.10% Electrical - APS
0.30% Electrical - ANL
0.10% Cooling - ANL
0.30% Other
0.10% Unidentified
-------
4.6% Total