## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2008-1
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2008-01-29 08:00 | 2008-02-03 07:37 | 119.6167 | S21C:BM P.S. trip [PS] | 105353 |  | 2008-02-03 07:37 | 2008-02-03 08:25 | 0.8 | [9 empty] | 0
[7 empty] | 2008-02-03 07:37 | 2008-02-03 08:03 |  | 0.43333 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
[7 empty] | 2008-02-03 08:03 | 2008-02-03 08:25 |  | 0.36667 | OA | OA | OA | Inhibits Beam to User |  |  |  | 1 | 1
2 | 2008-02-03 08:25 | 2008-02-05 08:00 | 47.5833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 167.2 | [5 empty] | 0.8 | 0.8 | [8 empty] | 0
3 | 2008-02-06 08:00 | 2008-02-09 07:53 | 71.8833 | Booster ES PS [PS] | 105360 |  | 2008-02-09 07:53 | 2008-02-09 12:16 | 4.3833 | 4.3833 | PS | PS | PS | Inhibits Beam to User | Fell below 50mA during B:ES2:PS repair, refilled | 1 |  |  | 1
4 | 2008-02-09 12:16 | 2008-02-11 08:00 | 43.7333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 115.6167 | [5 empty] | 4.3833 | 4.3833 | [8 empty] | 0
5 | 2008-02-13 08:00 | 2008-02-17 02:58 | 90.9667 | 21ID FEEPS H20 Flts [SI] | 105362 |  | 2008-02-17 02:58 | 2008-02-17 03:28 | 0.5 | 0.5 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
6 | 2008-02-17 03:28 | 2008-02-17 07:20 | 3.8667 | S7A:Q5:PS trip [PS] | 105363 |  | 2008-02-17 07:20 | 2008-02-17 11:00 | 3.6667 | 3.6667 | PS | PS | PS | Store Lost | Swapped converter, PS group investigation | 1 |  |  | 1
7 | 2008-02-17 11:00 | 2008-02-19 08:00 | 45 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 139.8333 | [5 empty] | 4.1667 | 4.1667 | [8 empty] | 0
8 | 2008-02-20 08:00 | 2008-02-24 04:12 | 92.2 | S40 Vacuum trip [RF] | 105367 |  | 2008-02-24 04:12 | 2008-02-24 04:39 | 0.45 | 0.45 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
9 | 2008-02-24 04:39 | 2008-02-26 02:53 | 46.2333 | S40 RF Cav. Vacuum [RF] | 105368 |  | 2008-02-26 02:53 | 2008-02-26 03:16 | 0.38333 | 0.38333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
10 | 2008-02-26 03:16 | 2008-02-26 08:00 | 4.7333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 143.1667 | [5 empty] | 0.83333 | 0.83333 | [8 empty] | 0
11 | 2008-02-27 08:00 | 2008-02-28 14:44 | 30.7333 | Raw P.S. glitch [PS] | 105370 |  | 2008-02-28 14:44 | 2008-02-28 15:59 | 1.25 | 1.25 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
12 | 2008-02-28 15:59 | 2008-03-04 08:00 | 112.0167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 142.75 | [5 empty] | 1.25 | 1.25 | [8 empty] | 0
13 | 2008-03-05 08:00 | 2008-03-10 08:00 | 119 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 119 | [5 empty] | 0 | 0 | [8 empty] | 0
14 | 2008-03-12 08:00 | 2008-03-13 03:59 | 19.9833 | RF Cav. Vacuum Trip [RF] | 105374 |  | 2008-03-13 03:59 | 2008-03-13 04:28 | 0.48333 | 0.48333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
15 | 2008-03-13 04:28 | 2008-03-18 08:00 | 123.5333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 143.5167 | [5 empty] | 0.48333 | 0.48333 | [8 empty] | 0
16 | 2008-03-19 08:00 | 2008-03-19 14:55 | 6.9167 | Human Error [DIAG] | 105375 |  | 2008-03-19 14:55 | 2008-03-19 15:44 | 0.81667 | [9 empty] | 0
[7 empty] | 2008-03-19 14:55 | 2008-03-19 15:25 |  | 0.5 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
[7 empty] | 2008-03-19 15:25 | 2008-03-19 15:44 |  | 0.31667 | PS | PS | PS | Inhibits Beam to User | Replaced PS after trip |  |  | 1 | 1
17 | 2008-03-19 15:44 | 2008-03-24 08:00 | 112.2667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 119.1833 | [5 empty] | 0.81667 | 0.81667 | [8 empty] | 0
|  |  | 0 | RF Coupler repair & condition [RF | 105378 |  | 2008-03-26 08:00 | 2008-03-28 | 40 | 40 | RF | RF | RF | Inhibits Beam to User |  |  |  |  | 0
18 | 2008-03-28 | 2008-03-28 07:42 | 7.7 | S40 RF Cav. Vacuum [RF] | 105380 |  | 2008-03-28 07:42 | 2008-03-28 08:10 | 0.46667 | 0.46667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
19 | 2008-03-28 08:10 | 2008-03-28 13:50 | 5.6667 | P0 timing error [CTL] | 105381 |  | 2008-03-28 13:50 | 2008-03-28 14:10 | 0.33333 | 0.33333 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
20 | 2008-03-28 14:10 | 2008-04-01 08:00 | 89.8333 | End of Scheduled time |  |  |  |  | 0 | 0 | [8 empty] | 0
| 2008-04-01 08:00 | 2008-04-02 08:00 | 24 | Supplemental time | [14 empty] | 0
| 2008-04-02 08:00 | 2008-04-07 15:54 | 127.9 | S40 RF Cav. Vacuum [RF] | 105383 |  | 2008-04-07 15:54 | 2008-04-07 16:17 | 0.38333 | 0.38333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
21 | 2008-04-07 16:17 | 2008-04-08 08:00 | 15.7167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 246.8167 | [5 empty] | 41.1833 | 41.1833 | [8 empty] | 0
22 | 2008-04-09 08:00 | 2008-04-15 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
23 | 2008-04-16 08:00 | 2008-04-21 07:52 | 119.8667 | RF4 Mod Anode Problem [RF] |  |  | 2008-04-21 07:52 | 2008-04-21 08:59 | 1.1167 | 1.1167 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
24 | 2008-04-21 08:59 | 2008-04-24 08:00 | 71.0167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  |  |  | 0
|  |  | 190.8833 | [5 empty] | 1.1167 | 1.1167 | [8 empty] | 0
|  | Number of Lost Fills | 13 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 11 | [5 empty] | User | System
|  | Number of Fills | 24 | [5 empty] | 55.0333 | 55.0333 | [5 empty] | 13 | 0 | 2 | 15
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1671.9667 | 69.6653 | User Beam days
|  | Total User Downtime | 55.0333 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1727
13
|  | Mean Time Between Faults | 128.6128
|  | Faults/Day of Delivered Beam | 0.18661 | [13 empty] | #REF!
|  | X-ray Availability | 96.81% | [13 empty] | #REF!
2

## Stats
Group
Data | CTL | PS | RF | SI | DIA | OA | Grand Total
Sum of Inhibits Beam |  | 1 |  |  | 0 | 1 | 2
Sum of Intention. Dump | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum of Store Lost | 1 | 4 | 6 | 1 | 1 | 0 | 13
Sum of System Length | 0.33333 | 10.05 | 43.2833 | 0.5 | 0.5 | 0.36667 | 55.0333
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | Grand Total | Total Hours
Run 2008-1 | 2.506% | 0.02895% | 0.5819% | 0.0193% |  | 0.02895% |  |  | 0.02123% | [8 empty] | 3.187%
Budget | 0.54% | 0.12% | 0.54% | 0.3% | 0.06% | 0.06% | 0.06% | 0.36% | 0.12% | 0% | 0.06% | 0.06% | 0.18% | 0.06% | 0.18% | 0.12% | 0.06% | 3%
Hours for Run | 43.2833 | 0.5 | 10.05 | 0.33333 |  | 0.5 |  |  | 0.36667 | [8 empty] | 55.0333
Faults | 6 | 1 | 4 | 1 |  | 1 |  |  | 0 | [8 empty] | 13
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified
Run 2008-1 | 0.086126 | 0.014354 | 0.057417 | 0.014354 | 0 | 0.014354 | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0.18661
Budget | 0.12 | 0.03 | 0.12 | 0.05 | 0.01 | 0.01 | 0.02 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.53
Total User Beam | 1671.9667
Total Schedule Run Length | 1727