## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2011-2
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2011-06-01 08:00 | 2011-06-04 18:02 | 82.0333 | RF3 Circ Arc trip [RF[ | 105779 |  | 2011-06-04 18:02 | 2011-06-04 18:30 | 0.46667 | 0.46667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
2 | 2011-06-04 18:30 | 2011-06-07 08:00 | 61.5 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 143.5333 | [5 empty] | 0.46667 | 0.46667 | [8 empty] | 0
3 | 2011-06-08 08:00 | 2011-06-14 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
4 | 2011-06-15 08:00 | 2011-06-16 17:54 | 33.9 | 24ID BPLD trip [DIAG] | 105781 |  | 2011-06-16 17:54 | 2011-06-16 21:48 | 3.9 | 3.9 | DIA | DIA | DIA | Store Lost | Replaced hardware, validated BPLD, refilled | 1 |  |  | 1
5 | 2011-06-16 21:48 | 2011-06-17 15:28 | 17.6667 | SR RF Cathode Voltage Sag | 105782 |  | 2011-06-17 15:28 | 2011-06-17 15:50 | 0.36667 | 0.36667 | OTH | OTH | OTH | Store Lost |  | 1 |  |  | 1
6 | 2011-06-17 15:50 | 2011-06-20 08:15 | 64.4167 | 23ID PSS Ch B dead [SI] | 105785 |  | 2011-06-20 08:15 | 2011-06-20 08:57 | 0.7 | 0.7 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
7 | 2011-06-20 08:57 | 2011-06-21 08:00 | 23.05 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 139.0333 | [5 empty] | 4.9667 | 4.9667 | [8 empty] | 0
8 | 2011-06-22 08:00 | 2011-06-22 13:49 | 5.8167 | S8 MPS Flow faults [MOM] | 105786 |  | 2011-06-22 13:49 | 2011-06-22 15:20 | 1.5167 | [5 empty] | Repair S29LMPS module,validate |  |  |  | 0
[7 empty] | 2011-06-22 13:49 | 2011-06-22 14:19 |  | 0.5 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
[7 empty] | 2011-06-22 14:19 | 2011-06-22 15:20 |  | 1.0167 | CTL | CTL | CTL | Inhibits Beam to User |  |  |  | 1 | 1
9 | 2011-06-22 15:20 | 2011-06-22 17:10 | 1.8333 | S34ID CU steering [AOP] | 105787 |  | 2011-06-22 17:10 | 2011-06-22 17:32 | 0.36667 | 0.36667 | AOP | AOP | AOP | Store Lost |  | 1 |  |  | 1
10 | 2011-06-22 17:32 | 2011-06-27 08:00 | 110.4667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 118.1167 | [5 empty] | 1.8833 | 1.8833 | [8 empty] | 0
11 | 2011-06-29 08:02 | 2011-07-03 08:45 | 96.7167 | RF2 HVPS SCR water [RF] | 105789 |  | 2011-07-03 08:45 | 2011-07-03 09:33 | 0.8 | 0.8 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
12 | 2011-07-03 09:33 | 2011-07-04 08:00 | 22.45 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 119.1667 | [5 empty] | 0.8 | 0.8 | [8 empty] | 0
13 | 2011-07-05 08:02 | 2011-07-05 14:09 | 6.1167 | Large orbit error [AOP] | 105791 |  | 2011-07-05 14:09 | 2011-07-05 17:07 | 2.9667 | [9 empty] | 0
[7 empty] | 2011-07-05 14:09 | 2011-07-05 14:39 |  | 0.5 | AOP | AOP | AOP | Store Lost |  | 1 |  |  | 1
[7 empty] | 2011-07-05 14:39 | 2011-07-05 17:07 |  | 2.4667 | MOM | MOM | MOM | Inhibits Beam to User |  |  |  | 1 | 1
14 | 2011-07-05 17:07 | 2011-07-06 08:20 | 15.2167 | Power outage [OTH] | 105792 |  | 2011-07-06 08:20 | 2011-07-06 17:50 | 9.5 | 9.5 | ComEd | ComEd | ComEd | Store Lost |  | 1 |  |  | 1
15 | 2011-07-06 17:50 | 2011-07-06 23:58 | 6.1333 | RF2 crowbar [RF] | 105793 |  | 2011-07-06 23:58 | 2011-07-07 00:26 | 0.46667 | 0.46667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
16 | 2011-07-07 00:26 | 2011-07-12 08:00 | 127.5667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 155.0333 | [5 empty] | 12.9333 | 12.9333 | [8 empty] | 0
17 | 2011-07-13 08:00 | 2011-07-16 14:45 | 78.75 | S12B:V2:PS trip [PS] | 105796 |  | 2011-07-16 14:45 | 2011-07-16 17:10 | 2.4167 | 2.4167 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
18 | 2011-07-16 17:10 | 2011-07-19 08:00 | 62.8333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 141.5833 | [5 empty] | 2.4167 | 2.4167 | [8 empty] | 0
19 | 2011-07-20 08:00 | 2011-07-21 06:58 | 22.9667 | S13/14 Flow faults [MOM] | 105802 |  | 2011-07-21 06:58 | 2011-07-21 07:46 | 0.8 | 0.8 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
20 | 2011-07-21 07:46 | 2011-07-25 08:00 | 96.2333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 119.2 | [5 empty] | 0.8 | 0.8 | [8 empty] | 0
21 | 2011-07-27 08:00 | 2011-07-27 22:43 | 14.7167 | RF2 Mod Anode Sag [RF] | 105804 |  | 2011-07-27 22:43 | 2011-07-27 23:09 | 0.43333 | 0.43333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
22 | 2011-07-27 23:09 | 2011-07-28 00:20 | 1.1833 | T-strom effects [OTH] | 105805 |  | 2011-07-28 00:20 | 2011-07-28 00:36 | 0.26667 | 0.26667 | Weather | Weather | Weather | Store Lost |  | 1 |  |  | 1
23 | 2011-07-28 00:36 | 2011-07-29 19:50 | 43.2333 | RF-2 Circ Arc [RF] | 105807 |  | 2011-07-29 19:50 | 2011-07-29 20:19 | 0.48333 | 0.48333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
24 | 2011-07-29 20:19 | 2011-08-01 19:49 | 71.5 | RF-2 Circ Arc [RF] | 105808 |  | 2011-08-01 19:49 | 2011-08-01 20:13 | 0.4 | 0.4 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
25 | 2011-08-01 20:13 | 2011-08-01 22:56 | 2.7167 | 13ID PSS trip [SI] | 105809 |  | 2011-08-01 22:56 | 2011-08-02 00:19 | 1.3833 | 1.3833 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
26 | 2011-08-02 00:19 | 2011-08-02 08:00 | 7.6833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 141.0333 | [5 empty] | 2.9667 | 2.9667 | [8 empty] | 0
27 | 2011-08-03 08:00 | 2011-08-04 15:17 | 31.2833 | 7BM PSS ChainB dead [SI] | 105811 |  | 2011-08-04 15:17 | 2011-08-04 16:35 | 1.3 | 1.3 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
28 | 2011-08-04 16:35 | 2011-08-09 08:00 | 111.4167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 142.7 | [5 empty] | 1.3 | 1.3 | [8 empty] | 0
|  |  | 0 |  | 105813 |  | 2011-08-10 08:00 | 2011-08-10 09:23 | 1.3833 | 1.3833 | ComEd | ComEd | ComEd | Inhibits Beam to User | Com-Ed V sag on Phase B [OTH] |  |  | 1 | 1
30 | 2011-08-10 09:23 | 2011-08-12 08:29 | 47.1 | S32A:S4:PS trip [PS] | 105814 |  | 2011-08-12 08:29 | 2011-08-12 09:28 | 0.98333 | 0.98333 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
31 | 2011-08-12 09:28 | 2011-08-13 11:29 | 26.0167 | RF3 Cathode OL trip[RF] | 105815 |  | 2011-08-13 11:29 | 2011-08-13 11:52 | 0.38333 | 0.38333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
32 | 2011-08-13 11:52 | 2011-08-13 17:12 | 5.3333 | Com-Ed Voltage sag [OTH] | 105816 |  | 2011-08-13 17:12 | 2011-08-13 17:38 | 0.43333 | 0.43333 | ComEd | ComEd | ComEd | Store Lost | Com-ED report voltage sag on all 3 phases, refill | 1 |  |  | 1
33 | 2011-08-13 17:38 | 2011-08-16 08:00 | 62.3667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 140.8167 | [5 empty] | 3.1833 | 3.1833 | [8 empty] | 0
34 | 2011-08-17 08:00 | 2011-08-23 07:44 | 143.7333 | P0 Error [CTL] | 105817 |  | 2011-08-23 07:44 | 2011-08-23 08:18 | 0.56667 | 0.56667 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
35 | 2011-08-23 08:18 | 2011-08-23 19:56 | 11.6333 | Human Error [AOP] | 105818 |  | 2011-08-23 19:56 | 2011-08-23 20:28 | 0.53333 | 0.53333 | AOP | AOP | AOP | Beam Dump |  | 1 |  |  | 1
36 | 2011-08-23 20:28 | 2011-08-25 08:00 | 35.5333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 190.9 | [5 empty] | 1.1 | 1.1 | [8 empty] | 0
|  | Number of Lost Fills | 23 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 12 | [5 empty] | User | System
|  | Number of Fills | 35 | [5 empty] | 32.8167 | 32.8167 | [5 empty] | 23 | 12 | 3 | 38
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1695.1167 | 70.6299 | User Beam days
|  | Total User Downtime | 32.8167 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1727.9333
35
|  | Mean Time Between Faults | 73.7007
|  | Faults/Day of Delivered Beam | 0.32564 | [13 empty] | #N/A
|  | X-ray Availability | 98.1% | [13 empty] | #N/A
24

## Stats
Group
Data | PS | RF | CTL | SI | OTH | DIA | MOM | AOP | ComEd | Weather | Grand Total
Sum - Inhibits Beam | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 3
Sum - Store Lost | 2 | 7 | 1 | 3 | 1 | 1 | 2 | 3 | 2 | 1 | 23
Sum of System Length | 3.4 | 3.4333 | 1.5833 | 3.3833 | 0.36667 | 3.9 | 3.7667 | 1.4 | 11.3167 | 0.26667 | 32.8167
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | Grand Total | Total Hours
Run 2010-2 | 0.1987% | 0.2257% | 0.1968% | 0.09163% |  | 0.1958% |  | 0.218% | 0.08102% |  |  |  | 0.6549% |  | 0.01543% |  | 0.02122% | 1.899%
Budget | 0.54% | 0.12% | 0.54% | 0.3% | 0.06% | 0.06% | 0.06% | 0.36% | 0.12% | 0% | 0.06% | 0.06% | 0.18% | 0.06% | 0.18% | 0.12% | 0.06% | 3%
Hours for Run | 3.4333 | 3.9 | 3.4 | 1.5833 |  | 3.3833 |  | 3.7667 | 1.4 |  |  |  | 11.3167 |  | 0.26667 |  | 0.36667 | 32.8167
Faults | 7 | 1 | 2 | 1 |  | 3 |  | 2 | 3 |  |  |  | 2 |  | 2 |  |  | 23
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified
Run 2011-2 | 0.099108 | 0.014158 | 0.028317 | 0.014158 | 0 | 0.042475 | 0 |  | 0.042475 | 0 | 0 |  | 0.028317 | 0 |  | 0 | 0 | 0.32564
Budget | 0.12 | 0.03 | 0.12 | 0.05 | 0.01 | 0.01 | 0.02 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.53
Total User Beam | 1695.1167
Total Schedule Run Length | 1727.9333
Filter
Cause
Type | Data | PS | RF | SI | DIA | CTL | MOM | ComEd | Weather | OTH | AOP | Grand Total
Store Lost | Sum - Store Lost | 2 | 7 | 3 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 22
| Sum - Inhibits Beam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inhibits Beam to User | Sum - Store Lost |  |  |  |  | 0 | 0 | 0 |  |  |  | 0
| Sum - Inhibits Beam |  |  |  |  | 1 | 1 | 1 |  |  |  | 3
Beam Dump | Sum - Store Lost | [9 empty] | 1 | 1
| Sum - Inhibits Beam | [9 empty] | 0 | 0
Total Sum - Store Lost |  | 2 | 7 | 3 | 1 | 1 | 2 | 2 | 1 | 1 | 3 | 23
Total Sum - Inhibits Beam |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 3