## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2014-2
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2014-05-28 08:00 | 2014-05-29 02:34 | 18.5667 | IOC recovery [CTL] | 106155 |  | 2014-05-29 02:34 | 2014-05-29 03:14 | 0.66667 | 0.66667 | AOP | AOP | AOP | Store Lost |  | 1 |  |  | 1
2 | 2014-05-29 03:14 | 2014-06-01 12:57 | 81.7167 | 11BM PSS fault[SI] | 106157 |  | 2014-06-01 12:57 | 2014-06-01 14:46 | [10 empty] | 0
[7 empty] | 2014-06-01 12:57 | 2014-06-01 13:57 | 1 | 1 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
[7 empty] | 2014-06-01 13:57 | 2014-06-01 14:46 | 0.81667 | 0.81667 | DIA | DIA | DIA | Inhibits Beam to User |  |  |  | 1 | 1
3 | 2014-06-01 14:46 | 2014-06-03 08:00 | 41.2333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 141.5167 | [5 empty] | 2.4833 | 2.4833 | [8 empty] | 0
4 | 2014-06-04 08:00 | 2014-06-08 02:06 | 90.1 | 9BM PSS trip [SI] | 106162 |  | 2014-06-08 02:06 | 2014-06-08 03:17 | 1.1833 | 1.1833 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
5 | 2014-06-08 03:17 | 2014-06-10 08:00 | 52.7167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 142.8167 | [5 empty] | 1.1833 | 1.1833 | [8 empty] | 0
|  |  | 0 | Unstable RF 3 LLRF[RF] | 106167 |  | 2014-06-11 08:00 | 2014-06-11 09:25 | 1.4167 | 1.4167 | RF | RF | RF | Inhibits Beam to User |  |  |  | 1 | 1
7 | 2014-06-11 09:25 | 2014-06-12 11:05 | 25.6667 | Unstable RF3 LLRF [RF] | 106169 |  | 2014-06-12 11:05 | 2014-06-12 12:48 | 1.7167 | 1.7167 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
8 | 2014-06-12 12:48 | 2014-06-12 16:30 | 3.7 | S13A:Q4 trip[PS] | 106170 |  | 2014-06-12 16:30 | 2014-06-12 18:54 | 2.4 | [9 empty] | 0
[7 empty] | 2014-06-12 16:30 | 2014-06-12 18:30 |  | 2 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
[7 empty] | 2014-06-12 18:30 | 2014-06-12 18:54 |  | 0.4 | AOP | AOP | AOP | Inhibits Beam to User |  |  |  | 1 | 1
9 | 2014-06-12 18:54 | 2014-06-13 16:34 | 21.6667 | 30-ID BPLD [DIAG] | 106171 |  | 2014-06-13 16:34 | 2014-06-13 17:29 | 0.91667 | 0.91667 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
10 | 2014-06-13 17:29 | 2014-06-17 08:00 | 86.5167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 137.55 | [5 empty] | 6.45 | 6.45 | [8 empty] | 0
11 | 2014-06-18 08:00 | 2014-06-18 11:38 | 3.6333 | RF LL instability[RF] | 106175 |  | 2014-06-18 11:38 | 2014-06-18 13:04 | 1.4333 | [9 empty] | 0
[7 empty] | 2014-06-18 11:38 | 2014-06-18 12:27 |  | 0.81667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
[7 empty] | 2014-06-18 12:27 | 2014-06-18 13:04 |  | 0.61667 | AOP | AOP | AOP | Inhibits Beam to User | P0 feedback problem |  |  | 1 | 1
12 | 2014-06-18 13:04 | 2014-06-23 00:55 | 107.85 |  | 106181 |  | 2014-06-23 00:55 | 2014-06-23 01:49 | 0.9 | 0.9 | UNK | UNK | UNK | Store Lost |  | 1 |  |  | 1
13 | 2014-06-23 01:49 | 2014-06-23 08:00 | 6.1833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 117.6667 | [5 empty] | 2.3333 | 2.3333 | [8 empty] | 0
14 | 2014-06-25 08:00 | 2014-06-28 21:44 | 85.7333 | 30-ID BPLD trip[DIAG] | 106187 |  | 2014-06-28 21:44 | 2014-06-28 22:34 | 0.83333 | 0.83333 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
15 | 2014-06-28 22:34 | 2014-06-30 21:59 | 47.4167 | Tornado Warning | 106188 |  | 2014-06-30 21:59 | 2014-06-30 22:28 | 0.48333 | 0.48333 | Weather | Weather | Weather | Inhibits Beam to User |  |  |  | 1 | 1
16 | 2014-06-30 22:28 | 2014-07-03 22:31 | 72.05 | <50mA Helios down[IT] | 106189 |  | 2014-07-03 22:31 | 2014-07-04 05:50 | 7.3167 | 7.3167 | IT | IT | IT | Store Lost |  | 1 |  |  | 1
17 | 2014-07-04 05:50 | 2014-07-04 08:00 | 2.1667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 207.3667 | [5 empty] | 8.6333 | 8.6333 | [8 empty] | 0
18 | 2014-07-08 08:00 | 2014-07-11 13:26 | 77.4333 | Water flow fault [MOM] | 106195 |  | 2014-07-11 13:26 | 2014-07-11 13:59 | 0.55 | 0.55 | FMS | FMS | FMS | Store Lost |  | 1 |  |  | 1
19 | 2014-07-11 13:59 | 2014-07-14 08:00 | 66.0167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 143.45 | [5 empty] | 0.55 | 0.55 | [8 empty] | 0
20 | 2014-07-16 08:00 | 2014-07-17 10:51 | 26.85 | Human error [UES] | 106202 |  | 2014-07-17 10:51 | 2014-07-17 11:48 | 0.95 | 0.95 | UES | UES | UES | Store Lost |  | 1 |  |  | 1
21 | 2014-07-17 11:48 | 2014-07-19 09:45 | 45.95 | RF2 Crowbar[RF] | 106205 |  | 2014-07-19 09:45 | 2014-07-19 10:20 | 0.58333 | 0.58333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
22 | 2014-07-19 10:20 | 2014-07-19 16:57 | 6.6167 | S17A:Q4 trip[PS] | 106208 |  | 2014-07-19 16:57 | 2014-07-19 18:34 | 1.6167 | 1.6167 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
23 | 2014-07-19 18:34 | 2014-07-22 08:00 | 61.4333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 140.85 | [5 empty] | 3.15 | 3.15 | [8 empty] | 0
24 | 2014-07-23 08:00 | 2014-07-26 01:11 | 65.1833 | BPM IOC problem[CTL] | 106214 |  | 2014-07-26 01:11 | 2014-07-26 07:14 | 6.05 | 6.05 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
25 | 2014-07-26 07:14 | 2014-07-27 00:51 | 17.6167 | S38 Gespac problem[PS] | 106215 |  | 2014-07-27 00:51 | 2014-07-27 01:25 | 0.56667 | 0.56667 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
26 | 2014-07-27 01:25 | 2014-07-29 08:00 | 54.5833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 137.3833 | [5 empty] | 6.6167 | 6.6167 | [8 empty] | 0
27 | 2014-07-30 08:00 | 2014-07-30 09:31 | 1.5167 | S18 MPS water fault[MOM] | 106217 |  | 2014-07-30 09:31 | 2014-07-30 10:01 | 0.5 | 0.5 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
28 | 2014-07-30 10:01 | 2014-08-01 21:18 | 59.2833 | RF2 crowbar [RF] | 106221 |  | 2014-08-01 21:18 | 2014-08-01 21:53 | 0.58333 | 0.58333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
29 | 2014-08-01 21:53 | 2014-08-05 08:00 | 82.1167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 142.9167 | [5 empty] | 1.0833 | 1.0833 | [8 empty] | 0
30 | 2014-08-06 08:00 | 2014-08-07 16:07 | 32.1167 | Corr.PS @ max.[CTL] | 106223 |  | 2014-08-07 16:07 | 2014-08-07 17:16 | 1.15 | 1.15 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
31 | 2014-08-07 17:16 | 2014-08-09 08:15 | 38.9833 | IOCS29bpm failure[CTL] | 106226 |  | 2014-08-09 08:15 | 2014-08-09 11:56 | 3.6833 | 3.6833 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
32 | 2014-08-09 11:56 | 2014-08-11 10:22 | 46.4333 | S10B:V1 glitch [PS] | 106227 |  | 2014-08-11 10:22 | 2014-08-11 10:53 | 0.51667 | 0.51667 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
33 | 2014-08-11 10:53 | 2014-08-11 14:23 | 3.5 | S10B:V1 glitch [PS] | 106228 |  | 2014-08-11 14:23 | 2014-08-11 15:30 | 1.1167 | 1.1167 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
34 | 2014-08-11 15:30 | 2014-08-12 08:00 | 16.5 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 137.5333 | [5 empty] | 6.4667 | 6.4667 | [8 empty] | 0
35 | 2014-08-13 08:00 | 2014-08-14 21:22 | 37.3667 | S37 RF Hybrid flow[MOM] | 106233 |  | 2014-08-14 21:22 | 2014-08-14 22:17 | 0.91667 | 0.91667 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
36 | 2014-08-14 22:17 | 2014-08-19 08:00 | 105.7167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 143.0833 | [5 empty] | 0.91667 | 0.91667 | [8 empty] | 0
37 | 2014-08-20 08:00 | 2014-08-20 09:24 | 1.4 | 11BM EPS trip [SI] | 106237 |  | 2014-08-20 09:24 | 2014-08-20 11:52 | 2.4667 | [5 empty] | Linac recovery, L3 P.S.;1.79hr[SI],.68hr.[PS] |  |  |  | 0
[7 empty] | 2014-08-20 09:24 | 2014-08-20 11:12 |  | 1.8 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
[7 empty] | 2014-08-20 11:12 | 2014-08-20 11:52 |  | 0.66667 | PS | PS | PS | Inhibits Beam to User |  |  |  | 1 | 1
38 | 2014-08-20 11:52 | 2014-08-22 02:54 | 39.0333 | S38 Gespac problem[PS] | 106238 |  | 2014-08-22 02:54 | 2014-08-22 03:55 | 1.0167 | 1.0167 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
39 | 2014-08-22 03:55 | 2014-08-26 08:00 | 100.0833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 140.5167 | [5 empty] | 3.4833 | 3.4833 | [8 empty] | 0
|  | Number of Lost Fills | 25 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 13 | [5 empty] | User | System
|  | Number of Fills | 38 | [5 empty] | 43.35 | 43.35 | [5 empty] | 25 | 12 | 6 | 43
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1732.65 | 72.1937 | User Beam days
|  | Total User Downtime | 43.35 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1776
37
|  | Mean Time Between Faults | 69.306
|  | Faults/Day of Delivered Beam | 0.34629 | [13 empty] | #N/A
|  | X-ray Availability | 97.56% | [13 empty] | #N/A
2

## Stats
Group
Data | PS | RF | SI | MOM | DIA | AOP | UNK | CTL | Weather | IT | FMS | UES | Grand Total
Sum - Inhibits Beam | 1 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 6
Sum - Store Lost | 6 | 4 | 3 | 2 | 2 | 1 | 1 | 3 | 0 | 1 | 1 | 1 | 25
Sum of System Length | 7.5 | 5.1167 | 3.9833 | 1.4167 | 2.5667 | 1.6833 | 0.9 | 10.8833 | 0.48333 | 7.3167 | 0.55 | 0.95 | 43.35
| RF | Diag | PS | Controls | Safety Intlks | Radiation Intlks | Water/ME | Operations | Physics | UES | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | APS-U | Grand Total | Total Hours
Run 2014-2 | 0.2881% | 0.1445% | 0.4223% | 0.6128% | 0.2243% |  | 0.07977% | 0.09478% |  | 0.05349% |  |  | 0.05349% |  | 0.412% | 0.05068% |  | 2.441% | #VALUE!
Budget | 0.54% | 0.12% | 0.54% | 0.3% | 0.28% | 0.28% | 0.36% | 0.12% | 0% | 0.06% | 0.06% | 0.18% | 0.18% | 0.18% | 0.12% | 0.06% |  | 3%
Hours for Run | 5.1167 | 2.5667 | 7.5 | 10.8833 | 3.9833 |  | 1.4167 | 1.6833 |  | 0.95 |  |  | 0.55 | 0.48333 | 7.3167 | 0.9 |  | 43.35 | 43.35
Faults | 4 | 2 | 6 | 3 | 3 |  | 2 | 1 |  | 1 |  |  | 1 | 0 | 1 | 1 |  | 25
| RF | Diag | PS | Controls | Safety Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | APS-U
Run 2014-2 | 0.055406 | 0.027703 | 0.08311 | 0.041555 | 0.041555 | 0 | 0.027703 | 0.013852 | 0 | #REF! | 0 | 0 | 0.013852 | 0 | 0.013852 | 0.013852 | 0 | 0.34629
Budget | 0.12 | 0.03 | 0.12 | 0.05 | 0.035 | 0.035 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 |  | 0.56
Total User Beam | Group PS: 1732.65
Total Schedule Run Length | Group PS: 1776
Filter
Cause
Type | Data | PS | RF | SI | MOM | FMS | ComEd | Grand Total
Store Lost | Sum - Store Lost | 4 | 2 | 3 | 1 | 1 | 1 | 12
| Sum - Inhibits Beam | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inhibits Beam to User | Group PS: Sum - Store Lost; Group RF: 0; Group CTL: 0
| Sum - Inhibits Beam | 1 | [5 empty] | 1
Total Sum - Store Lost |  | 4 | 2 | 3 | 1 | 1 | 1 | 12
Total Sum - Inhibits Beam |  | 1 | 0 | 0 | 0 | 0 | 0 | 1