Introduction to EPICS
Andrew Johnson
Computer Scientist, AES-SSG

---
What is EPICS?
A Collaboration
A Control System Architecture
A Software Tool-kit

---
A Collaboration
  - Began in 1989 between LANL/GTA & ANL/APS
    - (Bob Dalesio & Marty Kraimer)‏
  - Over 150 license agreements were signed before EPICS became “open source” in 2004
  - Recent EPICS collaboration meetings
    - 100+ Attendees
    - 30+ Institutions
    - 75+ Presentations
  - Mailing lists tech-talk and core-talk show the collaboration in action
  - Collaborative efforts vary
    - Joint development of new software
    - Assist in finding bugs
    - Annual Codeathon (Code Sprint)
    - Share tools, schemes, and advice

---
Major Collaborators
  - ANL (APS Accelerator, APS Beamlines, IPNS)‏
  - LANL
  - ORNL (SNS)‏
  - SLAC (SSRL, LCLS)‏
  - JLAB (CEBAF)‏
  - DESY
  - BESSY
  - PSI (SLS)‏
  - KEK
Recent Collaborators
  - DIAMOND Light Source (Rutherford Appleton Laboratory, UK)‏
  - The Australian Synchrotron (Melbourne)‏
  - ITER (Cadarache, France)

---
- A Collaboration
- A Control System Architecture
  - Network-based “client/server” model (hence the logo)‏
EPICS
CA
CA
Client
Client
CA
CA
Server
Server
For EPICS, client and server speak of their Channel Access role
i.e. Channel Access Client & Channel Access Server

---
Channel Access clients need to access Process Variables to carry out their designated tasks
StripTool
MEDM
CAC
CAC
Process
Variables
Process
Variables
CAS
CAS
A Channel Access server gives its clients access to its Process Variables

---
Process Variable (PV)
  - A Process Variable is a named piece of data associated with the machine (e.g. status, readback, setpoint, parameter)‏
  - Examples of PV names and values:
    - S1:VAC:reading 3.2e-08 torr
    - LINAC:BPM4:xPosition -0.323 mm
    - BOOSTER:gateValvePosition ‘OPEN’
    - S3:DIPOLE:PS:setPoint 123.4 Amps
    - APS:Mode ‘Stored Beam’
    - BL3:HISTOGRAM {3, 8, 1, 2, 56, 44, 32, 43, 3, 5, 1}

---
Process Variable
  - A Process Variable is a named piece of data with a set of attributes
  - Examples of Attributes:
    - Alarm Severity (e.g. NO_ALARM, MINOR, MAJOR, INVALID)‏
    - Alarm Status (e.g. LOW, HI, LOLO, HIHI, READ_error)‏
    - Timestamp
    - Number of elements (array)‏
    - Normal Operating Range
    - Control Limits
    - Engineering Unit Designation (e.g. degrees, mm, MW)‏

---
A Control System Architecture
  - Network-based “client/server” model where the basic data elements are Process Variables
  - The Channel Access Protocol defines how Process Variable data is transferred between a server and client
  - The entire set of Process Variables establish a Distributed Real-time Database of machine status, information and control parameters
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS
Process
Variables
CAS

---
By default, Channel Access traffic is constrained to a single TCP/IPv4 subnet, but configuration options can direct traffic elsewhere
Physical hierarchies can be implemented using standard network switches and routers, and CA Gateways
Gateway

---
My Special Data Collection Program
Any program that uses the Channel Access protocol can be regarded as “EPICS Compliant.”
StripTool
MEDM
CAC
CAC
CAC
EPICS is a tool-kit of programs that are EPICS Compliant or associated with other such programs. Users can select existing tools that match their needs, or develop new tools.
My Accelerator Simulator Code
(PVs)‏
iocCore
(PVs)‏
LabView
(PVs)‏
CAS
CAS
CAC
CAS
CAC

---
How does it do it?
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Server
Process Variables:
Power Supply
Computer Interface
S1A:H1:CurrentAO
S1:P1:x
S1:P1:y
S1:G1:vacuum
Beam Position Monitor
Computer Interface
Vacuum Gauge
Computer Interface
[Speaker Notes: Let’s take an example: Suppose you had a particle accelerator to control. Among many other things,]

---
Where does it do it?
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Client
Channel Access Server
Process Variables:
Power Supply
Computer Interface
S1A:H1:CurrentAO
S1:P1:x
S1:P1:y
S1:G1:vacuum
Beam Position Monitor
Computer Interface
Vacuum Gauge
Computer Interface
iocCore
Remote Control & Monitoring
Access Security
Alarm Detection
Data Trending/Archiving
Automatic Sequencing
Alarm Logging/Reporting
Data Conversion/Filtering
Closed-loop Control
Closed-loop Control
Operational Constraints
Operational Constraints
Data Trending/Archiving
Modeling/ Simulation/Analysis
Automatic Sequencing
Configuration Control
[Speaker Notes: Let’s take an example: Suppose you had a particle accelerator to control. Among many other things,]

---
Canonical Form of an EPICS Control System
Client Software
MEDM
OAG Apps
StripTool
ALH
TCL/TK
Many, many others
Perl Scripts
Channel Access
IOC Software
EPICS Database
Custom Programs
Sequence Programs
Commercial Instruments
Custom Chassis/Panels
Real-time
Control
Technical Equipment
CA Server Application
Process Variables
IOC
IOC
IOC
IOC
CAS
CAS

---
Typical Realizations of an EPICS System
Most CAS Apps were based on Unix or Windows
All IOCs were based on vxWorks (mostly VME)‏
Commercial Instruments
Custom Chassis/Panels
Technical Equipment
IOC
IOC
IOC
IOC
CAS
CAS

---
Typical Realizations of an EPICS System
In Release 3.14, the operating system limitations of iocCore were removed.
Commercial Instruments
Custom Chassis/Panels
Technical Equipment
RTEMS
IOC
IOC
IOC
IOC
CAS
CAS

---
How fast is EPICS?
- Can be fast or slow, it depends how you use it!
- Use the correct tool for the job; Database, sequencer, custom code (ioc) or custom code (client)‏
- Ultimately speed depends upon hardware
- Some benchmarks*:
* Extrapolated from benchmark figures courtesy of Steve Hunt (PSI) and L.Hoff, (BNL)‏
Database design and periodic scanning effect apparent system speed
25
3,000
33MHz
68040
vxWorks
MVME167
25
100,000
450MHz
PPC750
vxWorks
MVME5100
18
100,000
2.4GHz
P4
Linux
PC
233MHz
300MHz
Speed
10,000
20,000
Rec/sec
27
PII
Linux
PC
20
PPC604
vxWorks
MVME 2306
%CPU
CPU
OS
Machine