Input/Output Controller (IOC) Overview
Input/Output Controller (IOC) Development
Andrew Johnson
Slides by Eric Norum

---
IOC Overview
Overview
- How to create a new IOC application
- How to build an IOC application
- How to run an IOC application on various platforms
- Console interaction with an IOC application (iocsh)

---
Reference
Reference
EPICS: Input/Output Controller
Application Developers Guide
From EPICS home page:
http://www.aps.anl.gov/epics/
Under the tabs Base->R3.14 click on R3.14.11 or R3.14.12.
Then click on “EPICS Application Developer’s Guide” or the PDF icon immediately below it.

---
What is an Input/Output Controller?
What is an Input/Output Controller?
The answer used to be easy – “A single-board computer running the VxWorks real-time operating system and installed in a VME chassis”.

---
What is an Input/Output Controller?
Now an IOC can be an embedded micro-controller, a rack-mount server, a laptop PC or Mac, a desktop PC or Mac, a standalone single-board computer, or even an FPGA chip.
It may run on Linux, Windows, Solaris, Darwin, FreeBSD, RTEMS or VxWorks
RTEMS

---
‘Host-based’ and ‘Target’ IOCs
‘Host-based’ and ‘Target’ IOCs
- ‘Host-based’ IOC
  - Runs in the same environment as which it was compiled
  - ‘Native’ software development tools (compilers, linkers)
  - Sometimes called a ‘Soft’ IOC
  - IOC is an program like any other on the machine
  - Possible to have many IOCs on a single machine
- ‘Target’ IOC
  - Runs in a different environment than where compiled
  - ‘Cross’ software development tools
  - VxWorks, RTEMS
  - IOC boots from some medium (usually network)
  - IOC is the only program running on the machine
[Speaker Notes: This is where the actual control and data acquisition occurs.]

---
IOC  Software Development Area
IOC Software Development Area
- IOC software is usually divided into different <top> areas
  - Each <top> provides a place to collect files and configuration data associated with one or more similar IOCs
  - Each <top> is managed separately
  - A <top> may use products from other <top> areas
    - EPICS base can be thought of as just another <top>
[Speaker Notes: This is where the actual control and data acquisition occurs.]

---
IOC  Software Development Tools
IOC Software Development Tools
- EPICS uses the GNU version of make
  - Almost every directory from the <top> on down contains a ‘Makefile’
  - Make recursively descends through the directory tree
    - Determines what needs to be [re]built
    - Invokes compilers and other tools as instructed in Makefile
  - GNU C/C++ compilers or vendor compilers can be used
- No fancy ‘integrated development environment’ (yet?)

---
IOC  Application Development Examples
IOC Application Development Examples
- The following slides provide step-by-step examples of how to:
  - Create, build, run the example IOC application on a 'host' machine (Linux, Solaris, Darwin, etc.)
  - Create, build, run the example IOC application on a vxWorks 'target’ machine
- Each example begins with the use of ‘makeBaseApp.pl’

---
The ‘makeBaseApp.pl’ program
The ‘makeBaseApp.pl’ program
- Part of EPICS base distribution
- Populates a new, or adds files to an existing, <top> area
- Requires that your environment have EPICS_HOST_ARCH set
  - e.g. linux-x86, darwin-x86, solaris-sparc, win32-x86
  - EPICS base contains scripts which can set this as part of your login sequence
- Creates different directory structures based on a selection of different templates
- Commonly-used templates include
  - ioc - Generic IOC application skeleton
  - example - Example IOC application

---
Creating and initializing a new <top>
Creating and initializing a new <top>
- Create a new directory and run makeBaseApp.pl from within that directory
  mkdir lectureExample
  cd lectureExample
  /<base>/bin/linux-x86/makeBaseApp.pl -t example first
  - Provide full path to makeBaseApp.pl script
    <base>/bin/<arch>/makeBaseApp.pl
  - The template is specified with the ‘-t’ argument
  - The application name (firstApp) is specified with the ‘first’ argument
[Speaker Notes: <arch> is the value of your EPICS_HOST_ARCH environment variable]

---
<top> directory structure
<top> directory structure
- The makeBaseApp.pl creates this directory structure in <top>
  configure/	- Configuration files
  firstApp/	- Files associated with the ‘firstApp’ application
  Db/	- Databases, templates, substitutions
  src/	- Source code
- Every directory also contains a ‘Makefile’

---
<top>/configure files
<top>/configure files
- Some may be modified as needed
  CONFIG_SITE
    - Specify make variables (e.g. to build for a particular target):
      CROSS_COMPILER_TARGET_ARCHS = vxWorks-68040
  RELEASE
    - Specify location of other <top> areas used by applications in this <top>area.
- Other files in <top>/configure are part of the (complex!) build system and should be left alone.

---
Create a host-based IOC boot directory
Create a host-based IOC boot directory
- Run makeBaseApp.pl from the <top> directory
  /<base>/bin/linux-x86/makeBaseApp.pl
         -t example -i -a linux-x86 first
  - ‘-t example’ specifies the example template
  - ‘-i’ asks that an IOC boot directory be created
  - ‘-a <arch>’ to specify hardware on which IOC is to run
  - name of IOC
- If you omit the ‘-a <arch>’ you’ll be presented with a menu of architectures from which to pick

---
<top> directory structure
- The command from the previous slide creates additional directories in <top>
  iocBoot/	- Directory containing per-IOC boot directories
  iocfirst/	- Boot directory for ‘iocfirst’ IOC

---
Final <top> directory structure

---
Build the application
Build the application
- Run the GNU make program
  - ‘make’ on Darwin, Linux, Windows
  - ‘gnumake’ or ‘gmake’ on Solaris
  - make
    or
  - make -w
- Runs lots of commands

---
<top> directory structure after running make
<top> directory structure after running make
- These additional directories are now present in <top>
  bin/	- Directory containing per-architecture directories
  linux-x86/	- Object files and executables for this architecture
  lib/	- Directory containing per-architecture directories
  linux-x86/	- Object libraries for this architecture
  dbd/	- Database definition files
  db/	- Database files (record instances, templates)
- There may be additional directories created under bin/ and lib/

---
IOC startup
IOC startup
- IOCs read commands from a startup script
  - Typically ‘st.cmd’ in the <top>/iocBoot/<iocname> directory
- On VxWorks the target shell runs these scripts
- On other OSs the EPICS iocsh shell runs them
  - Command syntax is similar, iocsh is more flexible
- Script is created by ‘makeBaseApp.pl -i’ command
- For a ‘real’ IOC you would add commands to configure hardware modules, start sequence programs, update log files, etc.

---
Example application startup script
Example application startup script
1. #!../../bin/linux-x86/first
3. ## You may have to change first to something else
4. ## everywhere it appears in this file
6. < envPaths
8. cd ${TOP}
10. ## Register all support components
11. dbLoadDatabase "dbd/first.dbd"
12. first_registerRecordDeviceDriver pdbbase
14. ## Load record instances
15. dbLoadTemplate "db/userHost.substitutions"
16. dbLoadRecords "db/dbSubExample.db","user=norumeHost"
18. ## Set this to see messages from mySub
19. #var mySubDebug 1
21. ## Run this to trace the stages of iocInit
22. #traceIocInit
24. cd ${TOP}/iocBoot/${IOC}
25. iocInit
27. ## Start any sequence programs
28. #seq sncExample,"user=norumeHost”
[Speaker Notes: Important, so we’ll go through it line-by-line]

---
Example application startup script
1. #!../../bin/linux-x86/first
- This allows a host-based IOC application to be started by simply executing the st.cmd script
- If you’re running this on a different architecture the ‘linux-x86’ will be different
- If you gave a different IOC name to the ‘makeBaseApp.pl -i’ command the word ‘first’ will be different
- Remaining lines beginning with a ‘#’ character are comments

---
Example application startup script
6. < envPaths
- The application reads commands from the ‘envPaths’ file created by ‘makeBaseApp -i’ and ‘make’
- The envPaths file sets environment variables giving the IOC application’s
  - Target Architecture
  - IOC name
  - <top> directory
  - <top> directory for each component named in configure/RELEASE
- These values can be used by subsequent commands
  - epicsEnvSet(ARCH,"linux-x86")
  - epicsEnvSet(IOC,"iocfirst")
  - epicsEnvSet(TOP,"/home/NORUME/lectureExample")
  - epicsEnvSet(EPICS_BASE,"/opt/epics/iocapps/R3.14.11/base")

---
Example application startup script
8. cd ${TOP}
- The working directory is set from the ${TOP} environment variable (defined in ‘envPaths’)
- Allows subsequent commands to use relative paths

---
Example application startup script
11. dbLoadDatabase "dbd/first.dbd"
- Loads the database definition file for this application
- Describes record layout, menus, drivers

---
Example application startup script
12. first_registerRecordDeviceDriver pdbbase
- Registers more information related to the database definition files

---
Example application startup script
15. dbLoadTemplate "db/userHost.substitutions"
16. dbLoadRecords "db/dbSubExample.db","user=norumeHost"
- Read the application database files
  - These define the records which this IOC will contain
  - A file may be used more than once (with different macro definitions)
  - An individual record’s field values may be spread across multiple files
    - Where a field is set more than once, the last value wins
    - All instances must specify the same record type

---
Example application startup script
24. cd ${TOP}/iocBoot/${IOC}
- The working directory is set to the IOC’s startup directory

---
Example application startup script
25. iocInit
- Activates everything
- After reading the last line of the ‘st.cmd’ script, the IOC continues reading commands from the console
  - Diagnostic commands
  - Configuration changes

---
Running a host-based IOC
Running a host-based IOC
- Go to IOC startup directory (containing the st.cmd script)
  cd iocBoot/iocfirst
- Run the IOC executable with the startup script as the argument
  ../../bin/linux-x86/first st.cmd
- The startup script lines are displayed as they are executed
- When the script has finished the IOC will display an iocsh prompt and wait for commands to be typed
  iocInit()
  ...
  iocInit: All initialization complete
  epics>
[Speaker Notes: The tail end of the startup commands are shown]

---
Some useful iocsh commands
- The ‘help’ command, with no arguments, displays a list of all iocsh commands
  - 100 or so, plus any commands added by drivers and device support
- With arguments it displays usage information for each command listed
  epics> help dbl dbpr dbpf
  dbl 'record type' fields
  dbpr 'record name' 'interest level'
  dbpf 'record name' value

---
Some useful iocsh commands
Some useful iocsh commands
- Display list of records loaded by this IOC
  epics> dbl
  norumeHost:aiExample
  norumeHost:aiExample1
  norumeHost:aiExample2
  norumeHost:aiExample3
  norumeHost:calcExample
  norumeHost:calcExample1
  norumeHost:calcExample2
  norumeHost:calcExample3
  norumeHost:compressExample
  norumeHost:subExample
  norumeHost:xxxExample
- Caution – some IOCs have a lot of records
  - Use ‘dbgrep’ to list just the records that match a pattern

---
Some useful iocsh commands
- Display a record
  epics> dbpr norumeHost:aiExample
  ASG: DESC: Analog input DISA: 0 DISP: 0
  DISV: 1 NAME: norumeHost:aiExample RVAL: 0
  SEVR: MAJOR STAT: HIHI SVAL: 0 TPRO: 0
  VAL: 9
  epics> dbpr norumeHost:aiExample
  ASG: DESC: Analog input DISA: 0 DISP: 0
  DISV: 1 NAME: norumeHost:aiExample RVAL: 0
  SEVR: MINOR STAT: LOW SVAL: 0 TPRO: 0
  VAL: 4
- dbpr <recordname> 1 prints more fields
- dbpr <recordname> 2 prints even more fields, and so on

---
Some useful iocsh commands
- Show list of attached clients
  epics> casr
  Channel Access Server V4.11
  No clients connected.
- casr 1 prints more information
- casr 2 prints even more information

---
Some useful iocsh commands
- Do a ‘put’ to a field
  epics> dbpf norumeHost:calcExample.SCAN "2 second"
  DBR_STRING: 2 second
- Arguments with spaces must be enclosed in quotes

---
Terminating a host-based IOC
Terminating a host-based IOC
- Type ‘exit’ at the iocsh prompt
- Type your ‘interrupt’ character (usually control-C)
- Kill the process from another terminal/window

---
Create a vxWorks IOC boot directory
Create a VxWorks IOC boot directory
- Almost the same as for a host-based IOC
  - just the <arch> changes
- Run makeBaseApp.pl from the <top> directory
- ‘-t example’ to specify template
- ‘-i’ to show that IOC boot directory is to be created
- ‘-a <arch>’ to specify hardware on which IOC is to run
- name of IOC
  ~iocapps/R3.14.11/base/3-14-11-asd1/bin/solaris-sparc/makeBaseApp.pl
  -t example -i -a vxWorks-68040 first

---
vxWorks IOC startup script changes
VxWorks IOC startup script differences
- The startup script created by ‘makeBaseApp.pl -i’ for a VxWorks IOC is slightly different than for a host-based IOC
- Script interpreter
  - A host-based IOC uses the iocsh shell to run the script
  - A VxWorks IOC uses the VxWorks target shell instead of iocsh
  - The syntax accepted is subtly different
- Binary executable
  - A host-based IOC binary is a single executable program file
  - A VxWorks IOC loads the application from one or more binary files, under the control of the startup script

---
VxWorks IOC startup script differences
- The first few lines of the VxWorks example st.cmd script are:
  ## Example vxWorks startup file
  ## The following is needed if your board support package does…
  ## automatically cd to the directory containing its startup s…
  #cd "/home/phoebus/NORUME/lectureExample/iocBoot/iocfirst"
  < cdCommands
  #< ../nfsCommands
  cd topbin
  ## You may have to change first to something else
  ## everywhere it appears in this file
  ld < first.munch

---
VxWorks IOC startup script differences
- The startup script reads commands from ‘cdCommands’ instead of from ‘envPaths’
  - This assigns values to VxWorks shell variables as well as to environment variables
- Subsequent ‘cd’ commands look like
  cd top
  rather than
  cd ${TOP}

---
VxWorks IOC startup script differences
- The startup script contains command to load the binary files making up the IOC application
  ld < first.munch
- VxWorks binary files have names ending in ‘.munch’

---
Running a vxWorks IOC
Running a VxWorks IOC
- Set up the VxWorks boot parameters
  Press any key to stop auto-boot...
  6
  [VxWorks Boot]: c
  '.' = clear field; '-' = go to previous field; ^D = quit
  boot device : ei
  processor number : 0
  host name : phoebus
  file name : /usr/local/vxWorks/T202/mv167-asd7_nodns
  inet on ethernet (e) : 192.168.8.91:fffffc00
  inet on backplane (b):
  host inet (h) : 192.168.8.167
  gateway inet (g) :
  user (u) : someuser
  ftp password (pw) (blank = use rsh): somepassword
  flags (f) : 0x0
  target name (tn) : iocnorum
  startup script (s) : /usr/local/epics/iocBoot/iocfirst/st.cmd
  other (o) :

---
Running a vxWorks IOC
  host name : Name of your FTP server
  file name : Path to the VxWorks image on the FTP server
  inet on ethernet (e) : IOC IP address : netmask
  inet on backplane (b):
  host inet (h) : FTP server IP address
  gateway inet (g) :
  user (u) : User name to log into FTP server
  ftp password (pw) (blank = use rsh): Password for FTP account
  flags (f) : Special BSP flags
  target name (tn) : IOC name
  startup script (s) : Path to IOC startup script on FTP server
  other (o) :
- Once these parameters have been set a reboot will start the IOC

---
vxWorks shell
VxWorks shell
- The VxWorks shell requires that commands be entered in a slightly different form
  - String arguments must be enclosed in double quotes
  - Arguments must be separated by commas
  - There is no EPICS-specific ‘help’ command
  - Many VxWorks-specific commands are available
- For example, the ‘dbpf’ command shown previously could be entered as:
  dbpf “norumeHost:calcExample.SCAN”,”2 second”
  or as:
  dbpf(“norumeHost:calcExample.SCAN”,”2 second”)

---
Review
Review
- IOC applications can be host-based or target-based
- The makeBaseApp.pl script is used to create IOC application modules and IOC startup directories
- <top>/configure/RELEASE contents specify location of other <top> areas used by this <top> area
- <top>/iocBoot/<iocname>/st.cmd is the startup script for IOC applications
- The EPICS build system requires the use of GNU make
- VxWorks IOCs use the VxWorks shell, non-vxWorks IOCs use iocsh
- The EPICS Application Developer’s Guide contains a wealth of information
[Speaker Notes: You should now be able to create, build and run the example IOC application. The following lectures will show you how do create the databases which define Process Variables and their interaction.]