Input/Output Controller (IOC) Overview
Input/Output Controller (IOC) Overview
Eric Norum

---
IOC Overview
IOC Overview
- EPICS Input/Output Controller classifications?
- How to create a new IOC application?
- How to build an IOC application?
- How to run an IOC application on various platforms?
- Console interaction with an IOC application (iocsh)

---
Reference
Reference
EPICS: Input/Output Controller
Application Developers Guide
Go to EPICS home page:
http://www.aps.anl.gov/epics/
then follow links:
BASE->R3.14->R3.14.12
Then click the “EPICS Application Developer's Guide”

---
What does an Input/Output Controller do?
What does an Input/Output Controller do?
- As its name implies, an IOC often performs input/output operations to attached hardware devices.
- An IOC associates the values of EPICS process variables with the results of these input/output operations.
- An IOC can perform sequencing operations, closed-loop control and other computations.
[Speaker Notes: This is where the actual control and data acquisition occurs.]

---
‘Host-based’ and ‘Target’ IOCs
‘Host-based’ and ‘Target’ IOCs
‘Host-based’ IOC
  - Runs in the same environment as which it was compiled
  - ‘Native’ software development tools (compilers, linkers)
  - Sometimes called a ‘Soft’ IOC
  - IOC is an program like any other on the machine
  - Possible to have many IOCs on a single machine
‘Target’ IOC
  - Runs in a different environment than where compiled
  - ‘Cross’ software development tools
  - vxWorks, RTEMS, Linux, iOS
  - IOC boots from some medium (network, flash memory)
  - IOC is the only program running on the machine
[Speaker Notes: This is where the actual control and data acquisition occurs.]

---
IOC  Software Development Area
IOC Software Development Area
IOC software is usually divided into different <top> areas
  - Each <top> provides a place to collect files and configuration data associated with one or more similar IOCs
  - Each <top> is managed separately
  - A <top> may use products from other <top> areas (EPICS base, for example can be thought of as just another <top>)
[Speaker Notes: This is where the actual control and data acquisition occurs.]

---
IOC  Software Development Tools
IOC Software Development Tools
EPICS uses the GNU version of make
  - Almost every directory from the <top> on down contains a ‘Makefile’
  - Make recursively descends through the directory tree
    - Determines what needs to be [re]built
    - Invokes compilers and other tools as instructed in Makefile
  - GNU C/C++ compilers or vendor compilers can be used

---
IOC  Application Development Examples
IOC Application Development Examples
The following slides provide step-by-step examples of how to:
- Create, build, run the example IOC application on a 'host' machine (Linux, Solaris, Darwin, etc.)
- Create, build, run the example IOC application on a vxWorks 'target’ machine
Each example begins with the use of ‘makeBaseApp.pl’

---
The ‘makeBaseApp.pl’ program
The ‘makeBaseApp.pl’ program
- Part of EPICS base distribution
- Populates a new, or adds files to an existing, <top> area
- Requires that your environment contain a valid EPICS_HOST_ARCH (EPICS base contains scripts which can set this as part of your login sequence)
  - linux-x86_64, darwin-x86, win32-x86
- Creates different directory structures based on a selection of different templates
- Commonly-used templates include
  - ioc - Generic IOC application skeleton
  - example - Example IOC application

---
Creating and initializing a new <top>
Creating and initializing a new <top>
Create a new directory and run makeBaseApp.pl from within that directory
  - mkdir lectureExample
  - cd lectureExample
  - /opt/epics/iocapps/R3.14.12/base/bin/linux-x86_64/makeBaseApp.pl -t example first
  - Provide full path to makeBaseApp.pl script to ensure particular version of base:
    <base>/bin/<arch>/makeBaseApp.pl
  - The template is specified with the ‘-t’ argument
  - The application name (firstApp) is specified with the ‘first’ argument
[Speaker Notes: <arch> is the value of your EPICS_HOST_ARCH environment variable]

---
<top> directory structure
<top> directory structure
The makeBaseApp.pl creates the following directory structure in <top>: configure/	- Configuration files
  firstApp/	- Files associated with the ‘firstApp’ application
  Db/	- Databases, templates, substitutions
  src/	- Source code
Every directory contains a ‘Makefile’

---
<top>/configure files
<top>/configure files
Some may be modified as needed
  - CONFIG_SITE
    Specify make variables (e.g. to build for a particular target):
    CROSS_COMPILER_TARGET_ARCHS = vxWorks-68040
  - RELEASE
    Specify location of other <top> areas used by applications in this <top>area.
Others are part of the (complex!) build system and should be left alone.

---
Create a host-based IOC boot directory
Create a host-based IOC boot directory
- Run makeBaseApp.pl from the <top> directory
- ‘-t example’ to specify template
- ‘-i’ to show that IOC boot directory is to be created
- ‘-a <arch>’ to specify hardware on which IOC is to run
- name of IOC
makeBaseApp.pl-t example -i -a linux-x86_64 first
If you omit the ‘-a <arch>’ you may be presented with a menu of options from which to pick

---
<top> directory structure
The command from the previous page creates another directory in <top>:
iocBoot/	- Directory containing per-IOC boot directories
  iocfirst/	- Boot directory for ‘iocfirst’ IOC

---
Build the application
Build the application
Run the GNU make program
  - ‘make’ on Darwin, Linux, Windows
  - ‘gnumake’ on Solaris
make
Runs lots of commands

---
<top> directory structure after running make
<top> directory structure after running make
These additional directories are now present in <top>
bin/	- Directory containing per-architecture directories
linux-x86_64/	- Object files and executables for this architecture
lib/	- Directory containing per-architecture directories
linux-x86_64/	- Object libraries for this architecture
dbd/	- Database definition files
db/	- Database files (record instances, templates)
There may be other directories under bin/ and lib/, too.

---
<top> directory structure after running make

---
IOC startup
IOC startup
IOCs read commands from a startup script
  - Typically ‘st.cmd’ in the <top>/iocBoot/<iocname>/ directory
- vxWorks IOCs read these scripts with the vxWorks shell
- Other IOCs read these scripts with the iocsh shell
- Command syntax can be similar but iocsh allows more familiar form too
  - ‘Familiar’ to those used to the Unix/Linux command line
- Script was created by ‘makeBaseApp.pl -i’ command
- For a real IOC you’d likely add commands to configure hardware modules, start sequence programs, update log files, etc.

---
Example application startup script
Example application startup script
1 #!../../bin/linux-x86_64/first
2
3 ## You may have to change first to something else
4 ## everywhere it appears in this file
5
6 < envPaths
7
8 cd ${TOP}
9
10 ## Register all support components
11 dbLoadDatabase("dbd/first.dbd")
12 first_registerRecordDeviceDriver(pdbbase)
13
14 ## Load record instances
15 dbLoadRecords("db/dbExample1.db","user=studentHost")
16 dbLoadRecords("db/dbExample2.db","user=studentHost,no=1,scan=1 second")
17 dbLoadRecords("db/dbExample2.db","user=studentHost,no=2,scan=2 second")
18 dbLoadRecords("db/dbExample2.db","user=studentHost,no=3,scan=5 second")
19 dbLoadRecords("db/dbSubExample.db","user=studentHost")
20
21 ## Set this to see messages from mySub
22 #var mySubDebug 1
23
24 cd ${TOP}/iocBoot/${IOC}
25 iocInit()
26
27 ## Start any sequence programs
28 #seq sncExample,"user=studentHost”
[Speaker Notes: Important, so we’ll go through it line-by-line]

---
Example application startup script
1 #!../../bin/linux-x86_64/first
- This allows a host-based IOC application to be started by simply executing the st.cmd script
- If you’re running this on a different architecture the
  ‘linux-x86_64’ will be different
- If you gave a different IOC name to the ‘makeBaseApp.pl -i’ command the ‘first’ will be different
- Remaining lines beginning with a ‘#’ character are comments

---
Example application startup script
6 < envPaths
- The application reads commands from the ‘envPaths’ file created by ‘makeBaseApp -i’ and ‘make’
- The envPaths file contains commands to set up environment variables for the application:
  - Architecture
  - IOC name
  - <top> directory
  - <top> directory of each component named in configure/RELEASE
These values can then be used by subsequent commands
epicsEnvSet(ARCH,"linux-x86_64")
epicsEnvSet(IOC,"iocfirst")
epicsEnvSet(TOP,"/home/student/lectureExample")
“epicsEnvSet(EPICS_BASE,"/opt/epics/iocapps/R3.14.12/base")

---
Example application startup script
8 cd ${TOP}
- The working directory is set to the value of the ${TOP} environment variable (as set by the commands in ‘envPaths’)
- Allows use of relative path names in subsequent commands
- Should really be in quotes in case the ‘TOP’ value contains spaces

---
Example application startup script
11 dbLoadDatabase("dbd/first.dbd")
- Loads the database definition file for this application
- Describes record layout, menus, drivers

---
Example application startup script
12 first_registerRecordDeviceDriver(pdbbase)
Registers the information read from the database definition files

---
Example application startup script
15 dbLoadRecords("db/dbExample1.db","user=studentHost")
16 dbLoadRecords("db/dbExample2.db","user=studentHost,no=1,scan=1 second")
17 dbLoadRecords("db/dbExample2.db","user=studentHost,no=2,scan=2 second")
18 dbLoadRecords("db/dbExample2.db","user=studentHost,no=3,scan=5 second")
19 dbLoadRecords("db/dbSubExample.db","user=studentHost")
Read the application database files
  - These define the records which this IOC will maintain
  - A given file can be read more than once (with different macro definitions)

---
Example application startup script
24 cd ${TOP}/iocBoot/${IOC}
- The working directory is set to the per-IOC startup directory
- Again, should be in quotes

---
Example application startup script
25 iocInit()
- Activates everything
- After reading the last line of the ‘st.cmd’ script the IOC continues reading commands from the console
  - Diagnostic commands
  - Configuration changes

---
Running a host-based IOC
Running a host-based IOC
Change to IOC startup directory (the one containing the st.cmd script)
  - cd iocBoot/iocfirst
Run the IOC executable with the startup script as the only argument
  - ../../bin/linux-x86_64/first st.cmd
- The startup script commands will be displayed as they are read and executed
- When all the startup script commands are finished the iocsh will display an ‘epics> ’ prompt and wait for commands to be typed.
iocInit()
#####################################################################
### EPICS IOC CORE built on Jun 23 2004
### EPICS R3.14.6 $R3-14-6$ $2004/05/28 19:27:47$
#####################################################################
Starting iocInit
## Start any sequence programs
#seq sncExample,"user=studentHost"
iocInit: All initialization complete
epics>
[Speaker Notes: The tail end of the startup commands are shown]

---
Some useful iocsh commands
Some useful iocsh commands
Display list of records maintained by this IOC
epics> dbl
studentHost:aiExample
studentHost:aiExample1
studentHost:aiExample2
studentHost:aiExample3
studentHost:calcExample
studentHost:calcExample1
studentHost:calcExample2
studentHost:calcExample3
studentHost:compressExample
studentHost:subExample
studentHost:xxxExample
Caution – some IOCs have a lot of records

---
Some useful iocsh commands
Display a record
epics> dbpr studentHost:aiExample
ASG: DESC: Analog input DISA: 0 DISP: 0
DISV: 1 NAME: studentHost:aiExample RVAL: 0
SEVR: MAJOR STAT: HIHI SVAL: 0 TPRO: 0
VAL: 9
epics> dbpr studentHost:aiExample
ASG: DESC: Analog input DISA: 0 DISP: 0
DISV: 1 NAME: studentHost:aiExample RVAL: 0
SEVR: MINOR STAT: LOW SVAL: 0 TPRO: 0
VAL: 4
- dbpr <recordname> 1 prints more fields
- dbpr <recordname> 2 prints even more fields, and so on

---
Some useful iocsh commands
Show list of attached clients
epics> casr
Channel Access Server V4.11
No clients connected.
- casr 1 prints more information
- casr 2 prints even more information

---
Some useful iocsh commands
Do a ‘put’ to a field
epics> dbpf studentHost:calcExample.SCAN "2 second"
DBR_STRING: 2 second
Arguments with spaces must be enclosed in quotes

---
Some useful iocsh commands
The ‘help’ command, with no arguments, displays a list of all iocsh commands
  - 100 or so, plus commands for additional drivers
- With arguments it displays usage information for each command listed
- Wildcard characters (‘?’, ‘*’) can be used
epics> help dbl dbpr dbpf
dbl 'record type' fields
dbpr 'record name' 'interest level'
dbpf 'record name' value

---
Terminating a host-based IOC
Terminating a host-based IOC
- Type ‘exit’ to the iocsh prompt
- Type your ‘interrupt’ character (usually control-C)
- Kill the process from another terminal/window

---
Create a vxWorks IOC boot directory
Create a vxWorks IOC boot directory
Almost the same as for a host-based IOC
  - just the <arch> changes
- Run makeBaseApp.pl from the <top> directory
- ‘-t example’ to specify template
- ‘-i’ to show that IOC boot directory is to be created
- ‘-a <arch>’ to specify hardware on which IOC is to run
- name of IOC
makeBaseApp.pl -t example -i -a vxWorks-68040 first

---
vxWorks IOC startup script changes
vxWorks IOC startup script changes
- The startup script created by ‘makeBaseApp.pl -i’ for a vxWorks IOC is slightly different than one created for a host-based IOC
- A vxWorks IOC uses the vxWorks shell to read the script
  - a host-based IOC uses the iocsh shell
A vxWorks IOC incrementally loads the application binary into the vxWorks system
  - A host-based IOC runs as a single executable image

---
vxWorks IOC startup script changes
The first few lines of the example st.cmd script for a vxWorks target are:
## Example vxWorks startup file
## The following is needed if your board support package doesn't at boot time
## automatically cd to the directory containing its startup script
#cd "/home/phoebus/student/lectureExample/iocBoot/iocfirst”
< cdCommands
#< ../nfsCommands
cd topbin
## You may have to change first to something else
## everywhere it appears in this file
ld < first.munch

---
vxWorks IOC startup script changes
- There is no ‘#!’ line at the beginning of the script
- vxWorks IOCs can’t be started by simply executing the startup script

---
vxWorks IOC startup script changes
The startup script reads more commands from cdCommands rather than from envPaths
  - Assigns values to vxWorks shell variables rather than to iocsh environment variables
Subsequent ‘cd’ commands look like
    cd top
  rather than
    cd ${TOP}

---
vxWorks IOC startup script changes
The startup script contains command to load the binary files making up the IOC application
  ld < first.munch
  - Binary fragments have names ending in ‘.munch’

---
Running a vxWorks IOC
Running a vxWorks IOC
Set up the vxWorks boot parameters
Press any key to stop auto-boot...
6
[VxWorks Boot]: c
'.' = clear field; '-' = go to previous field; ^D = quit
boot device : ei
processor number : 0
host name : phoebus
file name : /usr/local/vxWorks/T202/mv167-asd7_nodns
inet on ethernet (e) : 192.168.8.91:fffffc00
inet on backplane (b):
host inet (h) : 192.168.8.167
gateway inet (g) :
user (u) : someuser
ftp password (pw) (blank = use rsh): somepassword
flags (f) : 0x0
target name (tn) : iocnorum
startup script (s) : /usr/local/epics/iocBoot/iocfirst/st.cmd
other (o) :

---
Running a vxWorks IOC
host name : Name of your FTP server
file name : Path to the vxWorks image on the FTP server
inet on ethernet (e) : IOC IP address/netmask
inet on backplane (b):
host inet (h) : FTP server IP address
gateway inet (g) :
user (u) : User name to log into FTP server
ftp password (pw) (blank = use rsh): Password to log into FTP server
flags (f) : Special BSP flags
target name (tn) : IOC name
startup script (s) : Path to IOC startup script on FTP server
other (o) :
Once these parameters have been set a reboot will start the IOC

---
vxWorks shell
vxWorks shell
The vxWorks shell requires that commands be entered in a slightly different form
  - String arguments must be enclosed in quotes
  - Arguments must be separated by commas
  - There is no ‘help’ command
  - Many vxWorks-specific commands are available
For example, the ‘dbpf’ command shown previously could be entered as:
  dbpf “studentHost:calcExample.SCAN”,”2 second”
or as:
  dbpf(“studentHost:calcExample.SCAN”,”2 second”)

---
Review
Review
- IOC applications can be host-based or target-based
- The makeBaseApp.pl script is used to create IOC application modules and IOC startup directories
- <top>/configure/RELEASE contents specify location of other <top> areas used by this <top> area
- <top>/iocBoot/<iocname>/st.cmd is the startup script for IOC applications
- The EPICS build system requires the use of GNU make
- vxWorks IOCs use the vxWorks shell, non-vxWorks IOCs use iocsh
- The EPICS Application Developer’s Guide contains a wealth of information
[Speaker Notes: You should now be able to create, build and run the example IOC application. The following lectures will show you how do create the databases which define Process Variables and their interaction.]