# Python in KEKB Control

# Database access interface libraries for application programs written in python

# Aug. 2002

Tatsuro NAKAMURA @ KEK

1. What’s Python ?

2. Python Environment in KEKB Control

3. Python Examples with GUI

4. Python and RDB

5. Summary

1. What's Python ?

Python is a portable, interpreter, object-oriented programming language.

For Beginners (or FORTRAN, BASIC Programmer)

elegant (but not over-simplified) syntax

interactive development

high level flexible data types (list, tuple, dictionary)

def func(x,y) :

a = 1.2

b = 1.05

return a*x*x+b*y*y

datalist = [("A-1",0.5,0.55),("B-4",-4.2,0.7),

("D-2",3.56,4.1e-2)]

dict = {}

for label,data1,data2 in datalist :

dict[label] = func(data1,data2)

print label,":",data1,data2,"  z=",dict[label]

#### For Advanced Programmers

a large collection of standard modules (powerful libraries)

string, time, socket, posix, Tk, RDB, Numeric, ...

object-oriented programming

class definition, operator overload

### For Expert Programmers

New built-in modules are easily written in C or C++.

Python is also usable as an extension language for applications that

need a programmable interface.

### For Physicists

Python is a good tool for prototyping and ad-hoc programming.

2. Python Environment in KEKB Control

### GUI

Tkinter ... basic interface module to Tcl/Tk

Pmw (Python megawidgets) ... high-level Tkinter widgets

Interface to EPICS Channel Access

ca ... basic channel access interface module (made in KEK)

cas ... wrapper of ca for beginners (made in KEK)

Interface to RDB (Oracle7)

oracledb ... basic interface module to access Oracle

rdbtool ... library to handle table-like-data (made in KEK)

kekbdatabase ... thin wrapper of oracledb and rdbtool (made in KEK)

ca module ... Basic CA interface

"channel" class is defined in ca module.

import ca

Create channel instance and Connect

chan = ca.channel("channel_name")

Put

chan.put(value)

ca.flush_io()

Get

chan.get()

ca.pend_event(1.0)

result = chan.val

Monitor

chan.monitor(callback_function)

cas module ... Easy use of CA

from cas import *

Put, Get, Monitor

caput("channel_name",value)

result = caget("channel_name")

camonitor("Channel_name",callback_function)

Multiple Put, Get, Monitor

caput(["name1","name2","name3"],[value1,value2,value3])

result_list = caget(["name1","name2","name3"])

camonitor(["name1","name2","name3"],[func1,func2,func3])

### Other general purpose Python modules made in KEK

arr … data retrieval library of the ASCII format archive (AR_cmd) file

arconvert … data converter of the ASCII format archive (AR_cmd) file

gnuplot … interface module to gnuplot

simplegraph … real-time graph plotter module

xtk … a set of Tkinter widgets

caxtk …“CA-widget” (widget connected to a channel) builder

casave … data save library for channels

(It can automatically save channel values when disconnected.)

netSemaphore … interface module to network semaphore

3. Python Examples with GUI

## Simple Example

from Tkinter import *    	# import Tcl/Tk interface module

from kgframe1 import *   	# import a KEKB GUI standard frame module

app = kgframe1()                    		# create a standard application frame

f = app.interior()                  	# get a user layout area

Label(f,text="Hello World").pack()  	# create a Label widget on the area

app.run()                           		# run the application

This short example has ready-made tools as follows

menu bar (user extensible; File and Help menus are built in.)

user layout area

button box (user extensible;	Screen capture button is built in.)

status line

progress bar

balloon help

Example with Channel Access

from kgframe1 import *         	# import a KEKB GUI standard frame module

from caxtk import *            	# import CA-widgets module (caLabel etc.)

from caWritableLabel import *  	# import caWritableLabel widget module

app = kgframe1()                      	# create a standard application frame

f = app.interior()                    	# get a user layout area

caLabel(f,                            	# create a caLabel widget on the area

channel="COTEST:TESTREC:AI",  	#   channel name

format="AI=%f",               	#   format string (optional)

rule=1                        		#   color rule (optional)

).pack()

caWritableLabel(f,                    	# create a caWritableLabel widget

channel="COTEST:TESTREC:AI2", 	#   channel name

format="AI2=%f"               	#   format string (optional)

).pack()

xca.flush_io()                        	# flush CA request

app.run()                             	# run the application

When the left mouse button is double-clicked on the caWritableLabel widget, a dialog box appears to let user input a new value.

Additional Features of the CA-widgets

Using rule option, the CA-widget changes its appearance (for example, it turns red) when the channel becomes Major/Minor/Invalid Alarm state.

CA-widget shows the Channel Information Display when the middle mouse button is pressed on it.

4. Python and RDB

## RDB in KEKB Control

Oracle ver.7.3.2

Contents: Static data

Device specification

Measured data

Field measurement data of the magnets

#### Mapping data of the BPM

Wiring information

Usage:

To configure the EPICS runtime database

Application programs get the data from RDB

Access to the RDB from the Python programs

oracledb --- basic interface module to access Oracle database

free software

rather old version (but enough for us)

rdbtool --- library module to handle table-like-data

made in KEK

designed mainly for read only access to the RDB

It provides:

easy way to get data from the RDB

“table object” to manipulate table-like-data on memory

kekbdatabase --- thin wrapper module for the KEKB users

Usage of kekbdatabase module

You can get a whole table by short programming.

from kekbdatabase import *

plc = kekbdb("MG.PLC")

plc.show()

This sample program gets “MG.PLC” table from KEKB Oracle database.

kekbdb("MG.PLC") returns a “table object”.

The table object can print its contents using show() method.

Output of the above sample program:

###### NAME  	NODE_ID	RACK      	ATTRIB

CBT1        	1	CBT-BT-C4 	B

ARS1        	1	           	B

D08_1       	1	           	M

ARWS1       	1	           	B

ARWN1       	3	           	B

You can see the description of columns using showdesc() method.

plc.showdesc()

This method prints the description as follows:

column_name	data_type	not_null	disp_size	int_size

NAME	STRING(10)	NOT NULL	10	10

NODE_ID	NUMBER(3)	NOT NULL	40	22

RACK	STRING(15)		15	15

ATTRIB	STRING(1)     NOT NULL	1	1

Instead of the table name, you can also specify any SQL select statement.

plc2 = kekbdb("select * from MG.PLC where ……")

Once you create a table object, you can manipulate it on memory.

You can get a row by index (index begins with 0).

plc[2]

( The result is a “row object”.

###### NAME  	NODE_ID	RACK 	ATTRIB

###### D08_1       	1	      	M

You can get a column by its name.

plc["NAME"]

( The result is a list.

['CBT1', 'ARS1', 'D08_1', 'ARWS1', 'ARWN1']

You can specify both row and column.

plc[2]["NAME"]

( The result is:

'D08_1'

“Slice” method is available, which produce a subset of the table.

Row-wise slice (for example, from plc[1] to plc[3])

plc[1:4]

( The result is:

###### NAME  	NODE_ID	RACK 	ATTRIB

ARS1        	1	      	B

D08_1       	1	      	M

ARWS1       	1	      	B

Column-wise slice

plc["NODE_ID","ATTRIB"]

( The result is:

###### NODE_ID	ATTRIB

1	B

1	B

1	M

1	B

3	B

Filtering method

For example, filtering condition is: (NODE_ID is 1 or 2) and (ATTRIB is "B")

plc.pickup(NODE_ID=(1,2),ATTRIB="B")

( The result is:

###### NAME  	NODE_ID	RACK      	ATTRIB

###### CBT1        	1	CBT-BT-C4 	B

ARS1        	1	           	B

###### ARWS1       	1	           	B

#### Another filtering method (more general way)

plc.filter(test_function)

#### Sorting method

plc.sort("NAME")

( As the result, plc becomes:

NAME  	NODE_ID	RACK      	ATTRIB

ARS1        	1	           	B

ARWN1       	3	           	B

ARWS1       	1	           	B

CBT1        	1	CBT-BT-C4 	B

D08_1       	1	           	M

#### “Distinct” method (column-wise slice but identical rows appear only once)

plc.distinct("NODE_ID","ATTRIB")

( The result is:

###### NODE_ID	ATTRIB

1	B

1	M

3	B

5. Summary

(	Python is an easy to learn, powerful, scripting language.

(	GUI, CA and RDB modules are core environment for the application programs of the KEKB Control.

(	A number of Python modules have been developed in KEK, which provide efficient programming tools.

(	kekbdatabase module provides easy way to access RDB and convenient data structure for on-memory table manipulation

# Text boxes

##### Application program

kekbdatabase

rdbtool

oracledb

Oracle 7

RDB

query (SQL)

table-like-data

#### Example of a Python application using Channel Access and RDB access