Modifying Hardware Addresses at Runtime
Andrew Johnson
APS Engineering Support Division

---
Outline
New feature in EPICS Base R3.14.8
How it's implemented
  - The add_record and del_record support routines
How to modify existing device support
Some limitations

---
New Feature in R3.14.8
Permits DTYP and INP/OUT fields to be changed at runtime
Notifies device supports of the change
  - Changes are only permitted if old and new device layers have registered a Device Support eXtension Table (DSXT)
  - Old device support may cancel a change before it happens
  - New device support may refuse to accept the new record
No alterations to record support necessary
Vast majority of device support continues to work as before
  - Any existing support that looks for changes to the INP/OUT field will need to be converted
  - Without a DSXT, the INP/OUT fields cannot be changed

---
How it's implemented
At initialization, device support registers its DSXT with iocCore
  - devExtend(&myDsxt);
The DSXT contains function pointers for two routines. From devSup.h:
  - typedef struct dsxt {
  - long (*add_record)(struct dbCommon *precord);
  - long (*del_record)(struct dbCommon *precord);
  - } dsxt;
These routines are optional, use NULL if not provided
  - static dsxt myDsxt = {myAdd, NULL};
  - This device support is a black hole, no exit is possible

---
The add_record routine
Called to inform device support of a new record to use
Actions usually similar to existing init_record routine
  - Check INP/OUT field address
  - Initialize DPVT field as necessary for support
  - Set record-specific conversion fields
    - ai, ao: If LINR=Linear, set ESLO, EOFF
    - bi, bo: set MASK
    - mbbi, mbbo: set SHFT, MASK
    - etc.
  - Return 0 if OK; non-zero means error
    - On error, record will be disabled by setting PACT=TRUE
    - Set INP/OUT field without error to clear PACT
add_record is called before init_record at startup
  - An init_record routine is usually still needed

---
The del_record routine
Called to disconnect device support from a record
Support can refuse by returning non-zero (error)
  - INP/OUT field will not be changed on error
Actions usually only related to device interface
  - DPVT field will be cleared after an OK return
  - Support must remove all references to this record
Records with SCAN=I/O Interrupt will be changed to Passive (calling get_io_int_info) before del_record
  - Be careful of losing IOSCANPVT pointer values which would cause a memory leak
    - Old addresses may be re-used later, consider saving the hardware-specific data rather than freeing everything

---
How to add to existing support
Create static DSXT structure
Register DSXT from pass 0 of DSET's init routine
Rename old init_record routine to add_record
  - Some record-type specific changes are also necessary
    - Look at record-type's init_record routine
Create new init_record routine
  - Simple record-type specific operations needed here
    - Usually repeating some code from add_record
Add new del_record routine
  - Device-specific operations needed here

---
Limitations
User must change DTYP before setting INP/OUT
Rejection of an address changed via Channel Access will result in a failed ca_put or ca_put_callback
  - some client tools (e.g. seq, caput) do not report failures
del_record cannot peek at the new INP/OUT address
  - it can see the new DTYP value though
Ideal for use with ASYN
  - ASYN hasn't been converted to use it yet
Converted support will no longer compile against earlier versions of EPICS Base
  - Can use ifdefs based on epicsVersion.h, but that makes the code harder to read