The EPICS IOC Builder
Python scripts for generating IOCs.
Michael Abbott, Diamond Light Source

---
Original motivation: a set of classes for generating .db files from Python
.db file
IOC builder
Python Script

---
For example (part of Libera build)
# Imports and common definitions omitted
def SlowAcquisition():
    SetChannelName('SA')
    power = aIn('POWER', -80, 10, 1e-6, 'dBm', 3,
        DESC = 'Absolute input power')
    current = aIn('CURRENT', 0, 500, 1e-5, 'mA', 3,
        DESC = 'SA input current')
    Trigger(False, ABCD_() + XYQS_(4) + [power, current] + MaxAdc())
    UnsetChannelName()
# Other channel definitions omitted
SlowAcquisition()
# ...
WriteRecords('libera.db')

---
generates .db file
# This file was automatically generated on
# Thu 01 Oct 2009 14:41:46 BST from source:
# /home/mga83/epics/Libera/liberaApp/Db/libera.py
#
# *** Please do not edit this file:
# edit the source file instead. ***
#
record(longin, "$(DEVICE):SA:A")
{
    field(DESC, "SA button A intensity")
    field(DTYP, "Libera")
    field(HOPR, "2147483647")
    field(INP, "@SA:A")
    field(LOPR, "0")
    field(MDEL, "-1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(longin, "$(DEVICE):SA:B")
{
    field(DESC, "SA button B intensity")
    field(DTYP, "Libera")
    field(HOPR, "2147483647")
    field(INP, "@SA:B")
    field(LOPR, "0")
    field(MDEL, "-1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(longin, "$(DEVICE):SA:C")
{
    field(DESC, "SA button C intensity")
    field(DTYP, "Libera")
    field(HOPR, "2147483647")
    field(INP, "@SA:C")
    field(LOPR, "0")
    field(MDEL, "-1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(ai, "$(DEVICE):SA:CURRENT")
{
    field(DESC, "SA input current")
    field(DTYP, "Libera")
    field(EGU, "mA")
    field(EGUF, "500")
    field(EGUL, "0")
    field(EOFF, "0")
    field(ESLO, "1e-05")
    field(HOPR, "500")
    field(INP, "@SA:CURRENT")
    field(LINR, "LINEAR")
    field(LOPR, "0")
    field(MDEL, "-1")
    field(PREC, "3")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(longin, "$(DEVICE):SA:D")
{
    field(DESC, "SA button D intensity")
    field(DTYP, "Libera")
    field(HOPR, "2147483647")
    field(INP, "@SA:D")
    field(LOPR, "0")
    field(MDEL, "-1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(longout, "$(DEVICE):SA:DONE")
{
    field(DESC, "Report trigger done")
    field(DTYP, "Libera")
    field(MDEL, "-1")
    field(OUT, "@SA:DONE")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(longin, "$(DEVICE):SA:MAXADC")
{
    field(DESC, "Maximum ADC reading")
    field(DTYP, "Libera")
    field(HHSV, "MAJOR")
    field(HIGH, "23197")
    field(HIHI, "27255")
    field(HOPR, "32768")
    field(HSV, "MINOR")
    field(INP, "@SA:MAXADC")
    field(LOPR, "0")
    field(MDEL, "-1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(calc, "$(DEVICE):SA:MAXADC_PC")
{
    field(CALC, "A/B")
    field(DESC, "Maximum ADC reading (%)")
    field(EGU, "%")
    field(HOPR, "100")
    field(INPA, "$(DEVICE):SA:MAXADC MS")
    field(INPB, "327.68")
    field(LOPR, "0")
    field(PREC, "1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(ai, "$(DEVICE):SA:POWER")
{
    field(DESC, "Absolute input power")
    field(DTYP, "Libera")
    field(EGU, "dBm")
    field(EGUF, "10")
    field(EGUL, "-80")
    field(EOFF, "0")
    field(ESLO, "1e-06")
    field(HOPR, "10")
    field(INP, "@SA:POWER")
    field(LINR, "LINEAR")
    field(LOPR, "-80")
    field(MDEL, "-1")
    field(PREC, "3")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(ai, "$(DEVICE):SA:Q")
{
    field(DESC, "SA relative skew")
    field(DTYP, "Libera")
    field(EGU, "")
    field(EGUF, "1")
    field(EGUL, "-1")
    field(EOFF, "0")
    field(ESLO, "1e-08")
    field(HOPR, "1")
    field(INP, "@SA:Q")
    field(LINR, "LINEAR")
    field(LOPR, "-1")
    field(MDEL, "-1")
    field(PREC, "4")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(longin, "$(DEVICE):SA:S")
{
    field(DESC, "SA total button intensity")
    field(DTYP, "Libera")
    field(INP, "@SA:S")
    field(MDEL, "-1")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(bi, "$(DEVICE):SA:TRIG")
{
    field(DESC, "Trigger processing")
    field(DTYP, "Libera")
    field(FLNK, "$(DEVICE):SA:TRIGFAN")
    field(INP, "@SA:TRIG")
    field(SCAN, "I/O Intr")
    field(TSE, "-2")
}
record(fanout, "$(DEVICE):SA:TRIGFAN")
{
    field(LNK1, "$(DEVICE):SA:A")
    field(LNK2, "$(DEVICE):SA:B")
    field(LNK3, "$(DEVICE):SA:C")
    field(LNK4, "$(DEVICE):SA:D")
    field(LNK5, "$(DEVICE):SA:X")
    field(LNK6, "$(DEVICE):SA:TRIGFAN1")
    field(SELM, "All")
}
record(fanout, "$(DEVICE):SA:TRIGFAN1")
{
    field(LNK1, "$(DEVICE):SA:Y")
    field(LNK2, "$(DEVICE):SA:Q")
    field(LNK3, "$(DEVICE):SA:S")
    field(LNK4, "$(DEVICE):SA:POWER")
    field(LNK5, "$(DEVICE):SA:CURRENT")
    field(LNK6, "$(DEVICE):SA:TRIGFAN2")
    field(SCAN, "Passive")
    field(SELM, "All")
}
record(fanout, "$(DEVICE):SA:TRIGFAN2")
{
    field(LNK1, "$(DEVICE):SA:MAXADC")
    field(LNK2, "$(DEVICE):SA:MAXADC_PC")
    field(LNK3, "$(DEVICE):SA:DONE")
    field(SCAN, "Passive")
    field(SELM, "All")
}
record(ai, "$(DEVICE):SA:X")
{
    field(DESC, "SA X position")
    field(DTYP, "Libera")
    field(EGU, "mm")
    field(EGUF, "10")
    field(EGUL, "-10")
    field(EOFF, "0")
    field(ESLO, "1e-06")
    field(HOPR, "10")
    field(INP, "@SA:X")
    field(LINR, "LINEAR")
    field(LOPR, "-10")
    field(MDEL, "-1")
    field(PREC, "4")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}
record(ai, "$(DEVICE):SA:Y")
{
    field(DESC, "SA Y position")
    field(DTYP, "Libera")
    field(EGU, "mm")
    field(EGUF, "10")
    field(EGUL, "-10")
    field(EOFF, "0")
    field(ESLO, "1e-06")
    field(HOPR, "10")
    field(INP, "@SA:Y")
    field(LINR, "LINEAR")
    field(LOPR, "-10")
    field(MDEL, "-1")
    field(PREC, "4")
    field(TSEL, "$(DEVICE):SA:TRIG.TIME")
}

---
Extending to building entire IOC
An IOC consists of many components, much of it either boilerplate or else module specific:
Makefiles
configure/RELEASE, more specification module version management
Template substitutions: can be very repetitive
Startup scripts, again often repetitive, and encapsulate a lot of module specific knowledge

---
IOC Builder building an IOC
Build script
XML
definitions
or
+
Complete IOC:
complete IOC directory
configure/RELEASE, reflecting version info
template substitutions
generated .db files
startup scripts
Just run make and it's ready to run.
Version
info
IOC builder
Module Specific
Definitions

---
Working Example
import iocbuilder # Boilerplate imports.
iocbuilder.ConfigureIOC() # Need to configure builder before imports
from iocbuilder import *
# Define module versions
ModuleVersion('ipac', '2-8dls4-5')
ModuleVersion('Hy8515', '3-9')
ModuleVersion('asyn', '4-10')
ModuleVersion('streamDevice', '2-4dls2-1')
ModuleVersion('newstep', '1-4', load_path = '.')
# Define hardware resources
card4 = modules.ipac.Hy8002(4) # VME IP carrier card in VME slot 4
serial = card4.Hy8515(0) # Serial IP card in slot A
SetDomain('TEST', 'TS') # Establishing record naming convention,
SetDevice('DEV', 1) # uses default configuration setup.
# Here we use the hardware to build the software resources we need
for ch in range(2):
    asyn = modules.asyn.AsynSerial(serial.channel(ch)) # Asyn serial connection
    modules.newstep.NSC200(
        M = GetDevice(), P = '', PORT = asyn.DeviceName(), CH = ch)
# Finally emit the IOC we've assembled into memory.
WriteNamedIoc('iocs', 'TEST-IOC')

---
Working Example
import iocbuilder # Boilerplate imports.
iocbuilder.ConfigureIOC() # Need to configure builder before imports
from iocbuilder import *
# Define module versions
ModuleVersion('ipac', '2-8dls4-5')
ModuleVersion('Hy8515', '3-9')
ModuleVersion('asyn', '4-10')
ModuleVersion('streamDevice', '2-4dls2-1')
ModuleVersion('newstep', '1-4', load_path = '.')
# Define hardware resources
card4 = modules.ipac.Hy8002(4) # VME IP carrier card in VME slot 4
serial = card4.Hy8515(0) # Serial IP card in slot A
SetDomain('TEST', 'TS') # Establishing record naming convention,
SetDevice('DEV', 1) # uses default configuration setup.
# Here we use the hardware to build the software resources we need
for ch in range(2):
    asyn = modules.asyn.AsynSerial(serial.channel(ch)) # Asyn serial connection
    modules.newstep.NSC200(
        M = GetDevice(), P = '', PORT = asyn.DeviceName(), CH = ch)
# Finally emit the IOC we've assembled into memory.
WriteNamedIoc('iocs', 'TEST-IOC')
Here we specify all the support modules
which might be used in this IOC, and
which release version of each module to use.
As each ModuleVersion() call is processed
the builder definitions associated with the
support module are automatically loaded
into memory, as attributes of
modules.<module-name>

---
Working Example
Hardware resources are declared as
instances of appropriate wrappers for each
class of hardware device.
In this case we have a VME carrier card with
a single IP module loaded into its slot A.
These lines ensure that the hardware is
correctly initialised in the IOC's startup script.
import iocbuilder # Boilerplate imports.
iocbuilder.ConfigureIOC() # Need to configure builder before imports
from iocbuilder import *
# Define module versions
ModuleVersion('ipac', '2-8dls4-5')
ModuleVersion('Hy8515', '3-9')
ModuleVersion('asyn', '4-10')
ModuleVersion('streamDevice', '2-4dls2-1')
ModuleVersion('newstep', '1-4', load_path = '.')
# Define hardware resources
card4 = modules.ipac.Hy8002(4) # VME IP carrier card in VME slot 4
serial = card4.Hy8515(0) # Serial IP card in slot A
SetDomain('TEST', 'TS') # Establishing record naming convention,
SetDevice('DEV', 1) # uses default configuration setup.
# Here we use the hardware to build the software resources we need
for ch in range(2):
    asyn = modules.asyn.AsynSerial(serial.channel(ch)) # Asyn serial connection
    modules.newstep.NSC200(
        M = GetDevice(), P = '', PORT = asyn.DeviceName(), CH = ch)
# Finally emit the IOC we've assembled into memory.
WriteNamedIoc('iocs', 'TEST-IOC')

---
Working Example
import iocbuilder # Boilerplate imports.
iocbuilder.ConfigureIOC() # Need to configure builder before imports
from iocbuilder import *
# Define module versions
ModuleVersion('ipac', '2-8dls4-5')
ModuleVersion('Hy8515', '3-9')
ModuleVersion('asyn', '4-10')
ModuleVersion('streamDevice', '2-4dls2-1')
ModuleVersion('newstep', '1-4', load_path = '.')
# Define hardware resources
card4 = modules.ipac.Hy8002(4) # VME IP carrier card in VME slot 4
serial = card4.Hy8515(0) # Serial IP card in slot A
SetDomain('TEST', 'TS') # Establishing record naming convention,
SetDevice('DEV', 1) # uses default configuration setup.
# Here we use the hardware to build the software resources we need
for ch in range(2):
    asyn = modules.asyn.AsynSerial(serial.channel(ch)) # Asyn serial connection
    modules.newstep.NSC200(
        M = GetDevice(), P = '', PORT = asyn.DeviceName(), CH = ch)
# Finally emit the IOC we've assembled into memory.
WriteNamedIoc('iocs', 'TEST-IOC')
Here the software components of the IOC are
declared. In this case we use two serial ports
from the IP module, wrapping each one for use
by the streamDevice serial protocol module.
The newstep.NSC200() call generates a template
substitution which uses streamDevice to talk to
a Newport motor controller.

---
This generates:
configure/RULES.ioc
configure/RULES_DIRS
configure/CONFIG_APP
configure/Makefile
configure/RULES
configure/RULES_TOP
configure/CONFIG
configure/RELEASE
TEST-IOCApp/Db/TEST-IOC.expanded.substitutions
TEST-IOCApp/Db/Makefile
TEST-IOCApp/src/Makefile
TEST-IOCApp/data/Makefile
iocBoot/iocTEST-IOC/stTEST-IOC.cmd
iocBoot/iocTEST-IOC/Makefile
Makefile

---
This generates:
configure/RULES.ioc
configure/RULES_DIRS
configure/CONFIG_APP
configure/Makefile
configure/RULES
configure/RULES_TOP
configure/CONFIG
configure/RELEASE
TEST-IOCApp/Db/TEST-IOC.expanded.substitutions
TEST-IOCApp/Db/Makefile
TEST-IOCApp/src/Makefile
TEST-IOCApp/data/Makefile
iocBoot/iocTEST-IOC/stTEST-IOC.cmd
iocBoot/iocTEST-IOC/Makefile
Makefile
# This file was automatically generated on
# Wed 07 Oct 2009 07:09:12 BST from source:
# /home/mga83/working/ICALEPCS2009/talks/example.py
#
# *** Please do not edit this file:
# edit the source file instead. ***
#
EPICS_BASE = /dls_sw/epics/R3.14.8.2/base
HY8515 = /dls_sw/prod/R3.14.8.2/support/Hy8515/3-9
ASYN = /dls_sw/prod/R3.14.8.2/support/asyn/4-10
IPAC = /dls_sw/prod/R3.14.8.2/support/ipac/2-8dls4-5
NEWSTEP = /dls_sw/prod/R3.14.8.2/support/newstep/1-4
STREAMDEVICE = /dls_sw/prod/R3.14.8.2/support/streamDevice/2-4dls2-1

---
This generates:
configure/RULES.ioc
configure/RULES_DIRS
configure/CONFIG_APP
configure/Makefile
configure/RULES
configure/RULES_TOP
configure/CONFIG
configure/RELEASE
TEST-IOCApp/Db/TEST-IOC.expanded.substitutions
TEST-IOCApp/Db/Makefile
TEST-IOCApp/src/Makefile
TEST-IOCApp/data/Makefile
iocBoot/iocTEST-IOC/stTEST-IOC.cmd
iocBoot/iocTEST-IOC/Makefile
Makefile
file $(NEWSTEP)/db/NSC200.template
{
pattern { P, M, CH, PORT }
    { "", "TEST-TS-DEV-01", "0", "ty_40_0" }
    { "", "TEST-TS-DEV-01", "1", "ty_40_1" }
}

---
This generates:
TOP = ../..
include $(TOP)/configure/CONFIG
PROD_IOC = TEST-IOC
DBD += TEST-IOC.dbd
TEST-IOC_DBD += base.dbd
TEST-IOC_DBD += drvIpac.dbd
TEST-IOC_DBD += Hy8515.dbd
TEST-IOC_DBD += asyn.dbd
TEST-IOC_DBD += drvAsynSerialPort.dbd
TEST-IOC_DBD += stream.dbd
TEST-IOC_SRCS += TEST-IOC_registerRecordDeviceDriver.cpp
TEST-IOC_LIBS += stream
TEST-IOC_LIBS += pcre
TEST-IOC_LIBS += asyn
TEST-IOC_LIBS += drvHy8515
TEST-IOC_LIBS += Ipac
TEST-IOC_LIBS += $(EPICS_BASE_IOC_LIBS)
TEST-IOC_OBJS += $(EPICS_BASE_BIN)/vxComLibrary
include $(TOP)/configure/RULES
configure/RULES.ioc
configure/RULES_DIRS
configure/CONFIG_APP
configure/Makefile
configure/RULES
configure/RULES_TOP
configure/CONFIG
configure/RELEASE
TEST-IOCApp/Db/TEST-IOC.expanded.substitutions
TEST-IOCApp/Db/Makefile
TEST-IOCApp/src/Makefile
TEST-IOCApp/data/Makefile
iocBoot/iocTEST-IOC/stTEST-IOC.cmd
iocBoot/iocTEST-IOC/Makefile
Makefile

---
This generates:
< cdCommands
cd top
ld < bin/vxWorks-ppc604_long/TEST-IOC.munch
tyBackspaceSet(127)
putenv "EPICS_TS_MIN_WEST=0"
dbLoadDatabase "dbd/TEST-IOC.dbd"
TEST_IOC_registerRecordDeviceDriver(pdbbase)
# Device initialisation
# ---------------------
# Configure StreamDevice paths
STREAM_PROTOCOL_DIR = malloc(126)
n=sprintf(STREAM_PROTOCOL_DIR,"%s/data",newstep)
IPAC4 = ipacEXTAddCarrier(&EXTHy8002, "4 2 192")
CARD40 = Hy8515Configure(40, IPAC4, 0, 193, 625, 0, 0)
PORT40_0 = tyHYOctalDevCreate("/ty/40/0", CARD40, 0, 2500, 250)
tyHYOctalConfig(PORT40_0, 9600, 'N', 1, 8, 'N')
drvAsynSerialPortConfigure("ty_40_0", "/ty/40/0", 100, 0, 0)
PORT40_1 = tyHYOctalDevCreate("/ty/40/1", CARD40, 1, 2500, 250)
tyHYOctalConfig(PORT40_1, 9600, 'N', 1, 8, 'N')
drvAsynSerialPortConfigure("ty_40_1", "/ty/40/1", 100, 0, 0)
# Final ioc initialisation
# ------------------------
cd top
dbLoadRecords "db/TEST-IOC.expanded.db"
iocInit
configure/RULES.ioc
configure/RULES_DIRS
configure/CONFIG_APP
configure/Makefile
configure/RULES
configure/RULES_TOP
configure/CONFIG
configure/RELEASE
TEST-IOCApp/Db/TEST-IOC.expanded.substitutions
TEST-IOCApp/Db/Makefile
TEST-IOCApp/src/Makefile
TEST-IOCApp/data/Makefile
iocBoot/iocTEST-IOC/stTEST-IOC.cmd
iocBoot/iocTEST-IOC/Makefile
Makefile

---
Module Specific Definitions
Template module definitions are particularly simple. Here is the newport definition from the example:
from iocbuilder import Substitution
from iocbuilder.hardware import AutoProtocol
class NSC200(Substitution, AutoProtocol):
    Arguments = ['P', 'M', 'CH', 'PORT']
    TemplateFile = 'NSC200.template'
    ProtocolFiles = ['NSC200.proto']
Substitution class used to instantiate templates.
AutoProtocol “mix-in” class used to automatically ensure that the appropriate protocol files are made available when the IOC is assembled.

---
Module Specific Definitions
Hardware definitions are more involved. This is a simplified fragment of the Hy8515 builder definition file:
from iocbuilder import Device
from iocbuilder.modules.ipac import IpDevice
class Hy8515(IpDevice):
    LibFileList = ['drvHy8515']
    DbdFileList = ['Hy8515']
    def __init__(self, carrier, ipslot, other_args):
        self.__super.__init__(carrier, ipslot)
        # handle the other_args as well
    def Initialise(self):
        print '%(cardname)s = Hy8515Configure(' \
        '%(cardid)d, %(IPACid)s, %(ipslot)d, %(vector)d, ' \
        '%(intdelay)d, %(halfduplex)d, %(delay845)d)' % self.__dict__
    def channel(self, other_args):
        return _Hy8515channel(self, other_args)
class _Hy8515(Device):
# And so on: Initialise calls tyHYOctalDevCreate and tyHYOctalConfig

---
Module Specific Definitions
Hardware definitions are more involved. This is a simplified fragment of the Hy8515 builder definition file:
This line is written to the startup script, and encapsulates everything I need to know to get an Hy8515 serial device up and running.
from iocbuilder import Device
from iocbuilder.modules.ipac import IpDevice
class Hy8515(IpDevice):
    LibFileList = ['drvHy8515']
    DbdFileList = ['Hy8515']
    def __init__(self, carrier, ipslot, other_args):
        self.__super.__init__(carrier, ipslot)
        # handle the other_args as well
    def Initialise(self):
        print '%(cardname)s = Hy8515Configure(' \
        '%(cardid)d, %(IPACid)s, %(ipslot)d, %(vector)d, ' \
        '%(intdelay)d, %(halfduplex)d, %(delay845)d)' % self.__dict__
    def channel(self, other_args):
        return _Hy8515channel(self, other_args)
class _Hy8515(Device):
# And so on: Initialise calls tyHYOctalDevCreate and tyHYOctalConfig

---
Using the IOC Builder
At its simplest an IOC is just a collection of component instances.
IOC definitions are designed to be easy to write. For beamlines an XML based specification has been created to specify the IOC components and their parameters.
Component definitions are more work.
Hardware component definitions encapsulate a lot of application specific knowledge that the writer of the IOC definition can happily forget!

---
IOC Builder at Diamond
Originally created to manage my 35 vxWorks Diagnostics IOCs.
Database generation used to generate Libera .db files (but builder library never distributed).
Then used to create a number of power supply controllers, and seeing some use for other repetitive IOC generation.
Recent XML specification prototype for beamline IOC generation: involves adding argument “meta-data” to component definitions.

---
IOC Builder outside Diamond?
Is the IOC builder maturing? Complex Python has a tendency to become chaotic, but the API seems to be stabilising.
Paths to core EPICS components are configurable.
Support module management completely oriented around Diamond structure; don't know if can be adapted outside.