## Slide 1: CS-Studio PVTable and Autosave
Kay Kasemir
Oct. 2014

## Slide 2: EPICS Autosave
By Tim Mooney, APS/AOD/BCDA
“Bumpless Reboot”
Since 5.1, May 2013: “configMenu”
  Manually save/restore sets of PVs
CS-Studio PV Table
Manually save/restore sets of PVs
  With comparison
  .. Partial restore

## Slide 3: CS-Studio PVTable Update
Load & Save *.sav files
  In addition to original *.pvs format
Supports array channels
  BYTE array that contains only ASCII displayed as text
Allows entering current value
  Enums offered as list