## Slide 1
areaDetector
What’s New and What’s Next
Mark Rivers
GeoSoilEnviroCARS, Advanced Photon Source
University of Chicago

## Slide 2: Outline
Last update was October 2017 at ITER and ICALEPCS in Barcelona
  areaDetector and ADCore Releases since then: R3-2, R3-3 (soon)
Brief recap of the top items from R3-0 for those who missed it
Major new features in 3-2 and 3-3
Roadmap for R4-0 and R5-0

## Slide 3: EPICS_NTNDA_Viewer ImageJ plugin (ADViewers R1-0)
New ImageJ plugin written by Tim Madden and Marty Kraimer
Essentially identical to EPICS_AD_Viewer.java except that it displays NTNDArrays from the NDPluginPva plugin, i.e. using pvAccess to transport the images rather than NDPluginStdArrays which uses Channel Access.

## Slide 4: EPICS_NTNDA_Viewer Advantages
NTNDArray data transmitted "atomically" over the network
With Channel Access size and data type of waveform record is fixed at iocInit, cannot be changed at runtime.
  To view both 8-bit and 64-bit double FFT images waveform record needs to be 64-bit double, 8X network overhead for 8-bit. pvAccess changes the data type of the NTNDArrays dynamically at run-time.
Channel Access requires setting EPICS_CA_MAX_ARRAY_BYTES, considerable confusion and frustration for users.
NDPluginPva is 5X-10X faster than NDPluginStdArrays
ImageJ is 1.5-2X faster with pvAccess than with Channel Access.

## Slide 5: NDPluginDriver (R3-0) Multiple Threads per Plugin
Added support for multiple threads running the processCallbacks() function in a single plugin.
Can improve the performance of the plugin by a large factor. Linear scaling with up to 5 threads (the largest value tested) observed for most of the plugins that now support multiple threads.
Maximum number of threads that can be used for the plugin is set in constructor and in IOC startup script.
Actual number of threads to use controlled via an EPICS PV at run time, up to the maximum value passed to the constructor.
Note that plugins need to be modified to be thread-safe for multiple threads running in a single plugin object.

## Slide 6: NDPluginScatter + V4
Distribute file writing to multiple IOCs (4096 x 3078 8-bit)
# IOCs | Files/sec | GB/sec
1 | 101.0 | 1.19
2 | 195.2 | 2.29
3 | 217.5 | 2.55
NDPluginPva
NDPluginPva
NDPluginPva
pvaDriver
NDFileHDF5
pvaDriver
NDFileHDF5
pvaDriver
NDFileHDF5
ADSimDetector
NDPluginScatter
IOC #1
IOC #2
IOC #3
IOC #4

## Slide 7: NDArrayPool Design Enhancements (R3-3)
Previously each plugin used its own NDArrayPool.
  Problem: not really possible to enforce the maxMemory limits for the driver and plugin chain.
  Sum of the memory use by the driver and all plugins that matters, not the use by each individual driver and plugin.
NDPluginDriver base class changed to set its pNDArrayPool pointer to the address passed to it in the NDArray.pNDArrayPool for the NDArray in the callback.
Ultimately all NDArrays are derived from the driver, either directly, or via the NDArrayPool.copy() or NDArrayPool.convert() methods.
  Thus plugins now allocate NDArrays from the driver's NDArrayPool, not their own.

## Slide 8: NDArrayPool Design Enhancements
maxMemory argument to the driver constuctor now controls the total amount of memory that can be allocated for the driver and all downstream plugins.
maxBuffers argument to all driver and plugin constructors is now ignored.
  Now no limit on the number of NDArrays, only on the total amount of memory.
  maxBuffers argument to the ADDriver and NDPluginDriver base class constructors are still present so existing drivers and plugins will work with no changes. This argument is simply ignored.
  maxMemory argument to the NDPluginDriver constructor is only used for NDArrays allocated before the first callback, so it can safely be set to 0 (unlimited).
These changes are generally backwards compatible.
  However, startup scripts that set a non-zero value for maxMemory in the driver may need to increase this value because all NDArrays are now allocated from this NDArrayPool.

## Slide 9: Active Plugin Counting and Waiting for Plugins to Complete (R3-3)
Previously to wait for plugins to complete before the driver indicated that acquisition was complete then needed to set CallbacksBlock=Yes for each plugin in the chain.
Waiting for plugins is needed in cases like the following
  Doing a step scan and one of the counters for the step-scan is a PV from the statistics plugin.
    Necessary to wait for the statistics plugin to complete to be sure the PV value is for current NDArray and not the previous one.
  Doing a scan and writing the NDArrays to a file with one of the file plugins. N
    Necessary to wait for the file plugin to complete before changing the file name for the next point.
Problems with setting CallbacksBlock=Yes.
  Slows down the driver because the plugin is executing in the driver thread and not in its own thread.
  Complicated to change all of the required plugin settings from CallbacksBlock=No to CallbacksBlock=Yes.

## Slide 10: Active Plugin Counting and Waiting for Plugins to Complete
NDPluginDriver base class now does the following:
  Increments a NumActivePlugins counter in the driver that owns each NDArray as it is queued
  Decrements the counter after the processing is done.
All drivers have 3 new records:
  NumActivePlugins: Indicates the total number of NDArrays that are currently processing or are queued for processing by this driver.
  WaitForPlugins: Determines whether AcquireBusy waits for NumActivePlugins to go to 0 before changing to 0 when acquisition completes.
  AcquireBusy: “busy” record that is set to 1 when Acquire changes to 1. It changes back to 0 when acquisition completes, i.e. when Acquire_RBV=0.
    If WaitForPlugins is Yes then it also waits for NumActivePlugins to go to 0 before changing to 0.
Should now rarely be necessary to change plugins to use CallbacksBlock=Yes.

## Slide 11
New records

## Slide 12: NDFileTIFF (R3-3)
Added support for readFile() so it is now possible to read a TIFF file into an NDArray using this plugin and do callbacks to downstream plugins.
  All datatypes (NDDataType_t) are supported.
  Supports Mono, RGB1, and RGB3 color modes. It also correctly reads files written with RGB2 color mode.
  Sestores the NDArray fields uniqueID, timeStamp, and epicsTS if they are present.
  Restores all of the NDArray NDAttributes that were written to the TIFF file.
    Because of the way the NDAttributes are stored in the TIFF file the restored attributes are all of type NDAttrString, rather than the numeric data types the attributes may have originally used.
One motivation is for NDPluginProcess to be able to read TIFF files for the background and flat field images, rather than needing to collect them each time it is used.

## Slide 13: NDPluginProcess (R3-3)
Load a dedicated TIFF plugin for the NDPluginProcess plugin in commonPlugins.cmd.
  Used for reading background or flatfield TIFF files.
Add an sseq record to load the background image from a TIFF file. Executes all the following steps:
  Saves the current NDArrayPort fo the Process plugin to a temporary location
  Sets the NDArrayPort to the TIFF plugin.
  Enables ArrayCallbacks for the TIFF plugin in case they were disabled.
  Process the ReadFile record in the TIFF plugin. This reads the TIFF file and does callback to the Process plugin.
  Loads the NDArray from the callback into the background image.
  Restores the previous NDArrayPort from the temporary location.
Add an sseq record to load the flatfile from a TIFF file.
  Executes the same steps as for the background above, except that in step 5 it loads the NDArray into the flatfile image.

## Slide 14: NDPluginProcess (R3-3)
New records

## Slide 15: NDFileHDF5 (R3-2)
Added support for blosc compression library.
  Compressors include blosclz, lz4, lz4hc, snappy, zlib, and zstd.
  Also support for ByteSuffle and BitShuffle.
  ADSupport now contains the blosc library, so it is available for most architectures.
  The build flags WITH_BLOSC, BLOSC_EXTERNAL, and BLOSC_LIB have been added, similar to other optional libraries. Thanks to Xiaoqiang Wang for this addition.
Changed all output records in NDFileHDF.template to have PINI=YES. This is how other plugins all work.

## Slide 16: NDPluginFile Capture Mode (R3-2)
Changed the way that capture mode is implemented.
Previously it created NumCapture NDArrays using the "new" operator. As NDArrays arrived it copied the data and attributes into these arrays. This had several problems:
  NDArrays were not allocated from the NDArrayPool, so memory limits were not enforced.
  Because not allocated from NDArrayPool if passed to other functions or plugins there would be problems with attempts to call NDArray::reserve() or release().
  The copy operation is inefficient and not a good idea.
Changed to:
  Allocate an array of NumCapture pointers.
  As NDArrays arrive their reference count is incremented with reserve().
  NDArray address is copied to the pointer array
  After the files are written the cleanup routine now simply decrements the reference counter with release(), rather than having to delete the NDArray.
  New scheme is much cleaner.
  May require some changes to startup scripts to increase NDArrayPool size.

## Slide 17: NDPluginOverlay (R3-2)
Improved behavior when changing the size of an overlay.
  Previously the Position was always preserved when the Size was changed.
  Not the desired behavior when the user had set the Center rather than Position.
  Code now remembers whether Position or Center was last set, and preserves the appropriate value when the Size is changed.
Overlays were previously constrained to fit inside the image on X=0 and Y=0 edges.
  User may want part of the overlay to be outside the image area.
  Location of the overlay can now be set anywhere, including negative positions.
  Each pixel in the overlay is now only added if it is within the image area.
Changed the cross overlay so that it is drawn symmetrically with the same number of pixels on each side of the center.
  Actual size is 2*Size/2 + 1, =Size+1 if Size is even.

## Slide 18: Operator displays medm, edm, caQtDM, CSS-BOY (R3-2)
Added ADApp/op/Makefile.
  Runs the conversion tools to convert the medm adl files to edl for edm, ui for caQtDM, and opi for CSS-BOY.
RULES_OPI file was added to synApps/support/configure to support this.
If RULES_OPI file is not found the Makefile does nothing.
If the RULES_OPI file is found then a CONFIG_SITE file in synApps/configure or in EPICS base must define these symbols:
  ADL2EDL: path to adl2edl for edm
  ADL2UI: path to adl2ui for caQtDM
  CSS: path to css. Must be a recent version that supports the command
  css -nosplash -application org.csstudio.opibuilder.adl2boy.application
edl/autoconvert, ui/autoconvert, and opi/autoconvert directories contain new conversions of all of the medm files.
edl, ui, and opi directories should contain only manually tweaked files.
  Many of the files in these directories have been removed, either because they were actually old autoconverted files, or because they are obsolete and the new autoconverted files are better.

## Slide 19: medm File Improvements (R3-2, R3-3)
Good conversion requires a good medm adl file
Text graphics widget sizes are set to the actual size of the text.
  medm will display text outside the widget if it is not large enough, but other display managers will not.
Text update widgets set to the correct datatype.
  medm will display an enum widget as a string even if the datatype is set to "decimal" rather than "string", but other display managers will not.

## Slide 20: CSS-BOY
medm

## Slide 21: caQtDM
medm
caQtDM comes with a good adl to ui conversion tool, no changes needed

## Slide 22: edm
medm
adl2edl required changes for parallel make because it used a hardcoded temporary file name (where to push fix?)
Quality of conversions is poor. adl2edl needs work.

## Slide 23: Other Changes (R3-3)
NDArrayPool Enhancements
  Changes to allow inheriting it from derived classes. Thanks to Sinesa Veseli for this, he will present later this morning.
  Optimization to memory allocation mechanism. Original work by Michael Huth. I am currently modifying to use std::multiset, same as used for plugin output sorting.
ntndArrayConverter.cpp
  Added conversion of the NDArray.timeStamp and NDArray.epicsTS fields from EPICS epoch (Jan. 1 1990) to Posix epoch (Jan. 1, 1970).
  Needed because NDArrays use EPICS epoch but pvAccess uses Posix epoch and the timestamps shown by pvGet were incorrect for the NTNDArrays.

## Slide 24: Point Grey 10-Gbit Ethernet Camera Oryx ORX-10G-51S5C-C
2448 x 2048 global shutter CMOS
Sony IMX250 2/3”
Dynamic range of 72 dB
Peak QE of 62%
Read noise of 2.2e-
12-bit, 10-bit, or 8-bit data
Max frame rate of 162 fps
  779 MB/S, >8X faster than GigE
$1,875

## Slide 25: ADSpinnaker
New driver for Point Grey GeniCAM cameras using their Spinnaker SDK (10 GigE, GigE, USB-3)
  Currently working on Windows
  Linux requires Ubuntu 16 (gcc 5.4, special release of ffmpeg)
Some work beginning on aravisGigE driver
  Guabao Shen at APS and Neil O’Brien at Diamond)

## Slide 26: ADPixirad
Added support for the PIXI-III chip
New CountMode record to select Normal, NPI and NPISUM count modes.
New HitThreshold record to control the VtHit value.

## Slide 27: Roadmap: ADCore R4-0
Put more functionality into ADDriver base class
  Derived class would call ADDriver::doPluginCallbacks(), which would handle setting attributes, getting timestamp, calling plugins, etc.
Simplify file saving modes (no more Single, Capture, Stream) and eliminate AutoSave
Add flag to prevent overwriting files

## Slide 28: Roadmap: ADCore R5-0
Change NDArray to NTNDArray for passing data to plugins
Use PVDatabase
  “local” provider within IOC
  “pva” provider between IOCs
Smart pointers automatically eliminate all unnecessary copying
Eliminates need for NDPluginPva
V4 clients can immediately receive data from any point in plugin chain
Distribute load to multiple IOCs without pvaDriver
Bruno Martins has demonstrated this working for ADSimDetector and NDPluginStats