
**Present: Wendy, Liz H., Liz S., Matt, Ashley, Clay, Bruce, Bruno**

**Shift Schedule**



**Vacation/DOR**

Ashley Wayman-3/24/23 DOR

Bruno Fieramosca- 3/22/23 ½ VAC

John Mazzio- 3/23/23-3/24/23 DORs

Shane Flood-Explosive training 3/20/23-3/31/23

**Important dates:**

* Sector 22 WCD discussion 3/20/23 9am
* Sector 7 Safety Walkthrough 3/20/23 10am
* Sector 5 WCD Discussion 3/20/23 11am
* Sector 13 WCD Discussion 3/20/23 2pm
* Sector 24 WCD Discussion 3/20/23 2:30pm
* Sector 31 WCD Discussion 3/22/23 10am
* Sector 10 WCD Discussion 3/22/23 2pm
* Sector 7-IDB,C,D, 25-ID-E TRR WCD Discussion 3/25/23 10am
* Sector 17 WCD Discussion 3/27/23 9am
* Sector 35 (DSC) WCD Discussion 3/27/23 10:30am
* Sector 14 WCD Discussion 3/27/23 1pm
* Sector 21 WCD Discussion 3/27/23 2:30pm
* PPE Expo Monday March 27 10am to 2pm 401 Atrium
* CARS TYSSR 3/29/23 1pm
* APS/APSU party Thursday March 23, 2023 Heroes West - Lemont 3:30pm

**Events from Last Week**

* 432 Mechanical Mezzaine Water leak

**Safety Share: past discussions have been moved to the bottom for record keeping**

**DEI Share**

* Check out the PSC DEI webpage <https://www.aps.anl.gov/About/Committees/Diversity-Equity-Inclusion>. Has information of upcoming Voice of PSCs and info on other events hosted by the ERGs.

**Notes/Discussions:**

* **EFOG Future Meetings and Format**
  + In person meetings Date and Time will remain the same. 431 Conference Room
    - Owl will be set up for those that are not on site to attend virtually.
    - All personnel who are onsite should attend in person
* Steve: FMLA until Middle of April
  + Liz Hardt will be contact person for 438 during absence
    - Will do eyewashes, LSI, LOTO
    - Steve has informed his beamlines
* DEEI Inspections: Scheduled by Liz S. and Nena
* **FC Responsibilities Box link:** [**https://anl.app.box.com/folder/130739025670?s=9glyg69uo9rx0px8b4c3lguj2k8fbs7g**](https://anl.app.box.com/folder/130739025670?s=9glyg69uo9rx0px8b4c3lguj2k8fbs7g)
* **FC shift log entries**
* **Beamline Downtime reports**
* **FCs during the dark time**
  + **Responsibilities**
    - **RSS oversight**
    - **FE component move/harvesting**
    - **FE Exit Table move/harvesting**
    - **Bending Magnet move**
    - **Beamline work: DALD approval**
      * **Beamline Contractor oversight**
      * **Beamline resources oversight**
* **Which beamlines are starting early? 15, 19, 14**
* **Storage on the floor: there have been some meetings regarding this issue**

**Experiments of Note**

**03/20/2023 - 03/27/2023**

* ESAF 269093. Remote users from CalTech. 03/21/23 - 03/23/23. **Radioactive** **Materials**
* ESAF 268979 at 16-BM-D. Onsite users from LLNL. 03/21/23 - 03/24/23. **Radioactive Materials**
* ESAF 269092 at 16-ID-B. Onsite users from LLNL. 03/22/23 - 03/25/23. **Radioactive Materials**
* ESAF 267137 at 16-BM-D. Onsite users from LANL. 03/24/23 - 03/27/23. **Radioactive Materials**

**Information to pass along to group**

**Nena**

* Reminder: FC Day shift hours: 8:30am to 5pm when not on shift
* Training: Check your training profile.
* EFOG procedures: A few are up for review. Email Kelly the status.
* Cassandra was granted TMS Superpowers for all of PSC and can now give credit for training that is done in house.
* Key Contact changes:
  + Mike Bracken is our MOM water and mechanical contact.
  + Justin Hanley is the new FAC Maintenance Foreman
  + John Edwards is replacing Beth Heyeck as the APS Health Physicist

**Liz S.**

* CARS (Sectors 13, 14, and 15) TYSSR: Wednesday, March 29, 2023 at 1pm on Teams
* EAs and Checklists – please give them to me as soon as you can
* Nena and Liz S. are scheduling DEEIs for the month of March

**Bruce**

* Several ESAF Vector requests for Jennifer: still in the queue.
* Looking at ESAFs.

**Liz H.**

* 4ID-A cryocooler platform reinforcement and expansion project final steps (installation of emergency power) to be completed in dark period.
* For FC web request delays due to an ANL problem (as opposed to APS server or AT&T), we should write an incident ticket in Vector and state that the delay affects APS beamline operations.
* Working on taking inventory of and reorganizing the FC storage cage in sector 3: <https://anl.box.com/s/2ooictgxwohijr48in0b8cwzujo1bwcm>

**Bruno**

**Valid as of 3-20-23:**

* Sector 5: Completed WCD walk-through on 3-20-23. WCD will be developed shortly.
* 5-BM-B installation of a 480V outlet and related switch for APS Upgrade -- quote is being reviewed.
* Follow-up “dark period” move of experimentation from 5-BM-D to 5-BM-B.
* 5-BM-A to have very large beam flight path removed by Rigging Crew for The Upgrade.
  + Riggers waiting for other 5-BM-A equipment to be moved before removing the flight path.

Life Safety Instrumentation/Equipment & Hazardous Gas Monitoring News:

* KEEP IN MIND: Due to frequent LN2 venting, the following station mounted ODH monitors may alarm on a regular basis: 10ID-A, 21ID-D, 4ID-B (alarms cannot be silenced).
* Please be aware that portable O2 monitors are at 3IDA, 4IDD, 5IDB, 20IDA, 25IDB, 34IDA.
* Working with Robert Winarski, multiple beamlines, and the MOM group as there will be a lot of relocation and new installation of oxygen deficiency monitors and ozone monitors due to the Upgrade.
* National Elev. Svcs. should be wrapping up the 2023 annual hoist inspections by the week of 3/13/23.
* Multiple Upgrade related chain-fall load tests to be performed, which includes 8-ID, 9-ID & 35-ID-E.
* The 7-BM-A water piping relocation has had further CCWP work during the 3/6 & 3/7 Mach. Studies.
* I have installed an entire new Oxygen Deficiency Hazard Monitor then calibrated & tested it successfully at 28-ID-B, as of today 2-9-23, at the request of M. Frith for upcoming experimentation.
* As of today 3-7-23, and together with M. Frith(28-ID) we have wired in a loud horn & strobe assembly to the previously installed ODH monitor at 28-ID-B for upcoming experimentation.
* 25-ID: Began installing ozone monitors at 25-ID-C, 25-ID-D, 25-ID-E as of 3-8-23.
* Optics Lab: Ordering and installing a future ozone monitor.
* 3-ID: Moving the series 1000 ODH monitor from 3-ID-B to 3-ID-A & removing 3-ID-B as legacy.

**Clay**

* Construction of Sector 8 & 9:
  + Stevenson/Caratelli off through March 20th, except for one tech.
  + 8ID: Internal utilities buildout under way
  + 9ID: No change
  + 9BM: FDR in the queue, date TBA (Expanded review with new guillotines).
* Recycling dumpsters will remain staged in 433 lot for Upgrade. Beamlines may use this for large metal items. Notify Clay/Wendy for any sizeable drop, like an equipment table. Shipping containers with the new 8ID/9ID hutch panels will also use this location for staging, and have been moved into place.
  + Cardboard bins in the 8ID/9ID area for metal recycling are available to all. Segregate appropriately – lead, copper, mixed steel/aluminum. Bins are labeled
* 11ID-D Laser Lab demo complete
* 11BM’s SR wall grinding project has passed FDR. Schedule is targeting the week of April 24th. Andy Stevens in progress on an SRO.
* Next machine shop certification – Friday, April 7th.
* 11ID will have users sealing glass capillaries with a torch. Hot Work permit meeting tomorrow at 800. Experiment to run through

**John**

* Building 364: All relevant items have been moved to temporary storage in building 365.
* Property Management Inventory: Will cover 433 on 03/13.
* Two remaining surveys scheduled between now and end of run.
* 14BM-A disassembly (non-RSS) has begun. Process of how beamline work will be done is being discussed with Davey, White and VanWingeren.

**Matt**

* Working with Ashley on beginning stages of project involving wall cutouts for future LBB beamlines
  + I-beam in 435 truck lock has been supported and cut, welding continuing today to complete final structure, additional supports may be added after discussion with engineer.
  + Outer wall cuts complete on Sector 20 wet lab, waiting till start of dark period to continue cuts inside of the lab
  + Remaining cuts include inside of lab and inner cinder block wall of truck lock for 19-ID LBB line
  + Waiting on new door to complete work at end of LBB hallway
* Flow faults today at 20 and 21 were from Johnson controls testing, should be completed by the afternoon; Sector 5 related to water leak work in storage ring
* Chemical spill in 435 E030 on Thursday, chemical was boron nitride which is non-hazardous, confirmed with Mike Fries, no issues
* Adjusted flow 4 set point at 25-ID on Thursday from 3.8 to 2.8, haven’t had any issues since.
* WPC meetings complete with 18-ID and 19-BM for upcoming upgrade work.
* Wendy, Clay, Ashley and I met with Thomas and techs to discuss upgrade work scheduled for 19-BM
  + Would like to discuss further with group, still waiting on memo from Quintana
* Topics I would like to discuss with group
  + How are we going to adjust our CCWP location within ICMS for the upgrade
  + Had to move a lot of stuff out of the way in front of fire suppression panels and electrical breaker panels, I imagine it will get worse with upgrade materials being delivered.

**Ashley**

* Scheck BPA SOW/WPC Updates:
  + Processed: LBB wall penetrations (approved)
  + Upcoming: Additional flange box removals for upgrade work; after April 17th: plan to remove transports in front of ratchet wall doors (asking IH to waive air monitoring requirement)

**Shane**

* Offsite training at the end of March for 2 weeks
* HVAC install of haz gas exhaust venting ongoing
* Casework install in 437 A labs ongoing

**Steve**

**Wendy**

* If beamlines have scrap metal, wires (copper) or small amounts of lead that they want to get rid of please let me know.

**APS U Questions/Concerns**

* During the dark time what are the resources for SA and Riggers? How will the requests be funneled.
* Can we have guidance on what the beamline staff can move? No engineered lifts but can we have more guidance on what the boundary is
* Guidance on the use of power tools for beamline staff. Besides ESH141 and update on JHQ is there anything else?
* Are we going to modify the beamline WCD to cover the work the beamlines will do to their beamlines? Yes
* Where is the demarcation for the construction area so we know when to wear PPE. Is it the whole experiment floor or some other subsection? Areas will be clearly defined with tape and signs
* How can beamlines get rid of trash/junk? Committee working toward guidance and clean sweep days

**EFOG POC List**

* EFOG POC - Roadwork schedule and impact – Clay White
* EFOG POC - APSU Scheck BPA Fixed Price; SOW, WPC - Ashley Wayman
* EFOG POC - 8-ID/9-ID Decommissioning - Clay White
* EFOC POC- 9-BM Job Coordinator-Clay White, FC-Matt Spilker, CCSM Wendy VanWingeren
* EFOG POC - Sector 20 move out and move in - Matt Spilker
* EFOG POC - LBB – Ashley Wayman, Matt Spilker
* EFOG POC - Beamline metal/etc. recycling program - Wendy VanWingeren
* EFOG POC - Building Operations Team - Matt Spilker
* EFOC POC – Building 364 storage- John Mazzio
* EFOG POC- CAT ID beamline operation needs gathering-Ashley Wayman and John Mazzio
* EFOG POC- Beamline experimental needs during the Dark period-Nena Moonier and Liz Schmidt

**EFOG Safety Share:**

* Ashley – finding expired fire extinguishers; check tags on the fire extinguishers in your area
* Matt S. - Oversight of beamlines moving large items on pallet jacks. See 9/19 turnover notes for more detail
* Clay – only need fall protection when elevated; people can work alone elevated during normal working hours
* John M. - Lead cleanup: IH has requested that if the FCs are going to do cleanup that they get specific training to do so: Mike Fries is working on a WCD to encompass FCs in lead cleanup responsibilities
* John M - Several fire extinguishers were found to not have been inspected in many years. Working with ANL Fire Department on creating list of fire extinguishers in cages around the ring.
* Shane F. - 25-ID: moved large laser table; long stringers are a two-piece design and were lifting the table at the weakest point; do not assume that rigging is moving an item correctly; speak up if you feel a task is not being done correctly
* Clay W. - Work Requests: do not be afraid to edit work requests so that the scope of work is accurately captured.
* Clay W. - DEEI inspections of equipment are not enough for an experiment to proceed. Should also look at the whole setup from an electrical standpoint and may require a DEEI to look over set up
* Wendy V- Summary of shielding verification for sector 25: <https://anl.box.com/s/xoetfu2qtpb4yslv30mpdozwskuz5f40>
* Bruno F and Matt S- 33ID ODH Monitor event
* Bruno F Column 168 Users had large tank, pyramid do not stack cones, one attached sideways to a piece of equipment at eye level, so turned the point away to face the wall and to avoid someone getting poked in the eye.
* Ashley- to borrow Security’s campaign... See something say something. If something does not look right or you are not sure if it is acceptable, ask. Recent examples: beamline staff not wearing hard hat on scissor lift, garden hose running across handicap parking spots and side walk (trip hazard), lead work for beamline deconstruction.
* Matt-Sector 29 Fire blanket was smoking during a bake out. Fire blanket was old and removed from service. Be aware this is not a good source

**EFOG Discussions/Lessons**

**Past Discussion:** [**Smart Card observations**](https://beam.aps.anl.gov/pls/apsweb/wam0002.COATS_MENU?i_pid=271490000302338) **and AES FY2023 Goals**

**Link to presentation: https://anl.app.box.com/file/1077535279568**

**Work Request system discussion:** [**Link to slides**](https://anl.box.com/s/a9q0so14xobayg8wsdjtzo0u0kajl1xt) **(updated after 12/5 mtg)**

**EFOG Shutdown Folder:** [**2022\_Dec Jan**](https://anl.box.com/s/l1umz6ils6r9vi4yx8j3dl7jn5n6p6iu)