**Present: Wendy, Ashley, Liz H, Liz S, Nena, Matt, Steve, Shane, Bruno, Bruce, John**

**Shift Schedule**



**Vacation/DOR**

Ashley Wayman- 4/5-4/7 DOR

Nena Moonier-4/7 VAC

Liz Hardt- 4/7 ½ MA

**Important dates:**

* Riggers to move the cabinets out of the FC office this Friday April 7 for carpet replacement.
* CCWPS/WR for Sector 5-8 and 13-16 4/4/23 at 1:30
* CCWPs/WR for Sector 25-30 4/6/23 at 10am
* PSC All Hands 4/14/23 at 10am

**Events from Last Week**

**Safety Share: past discussions have been moved to the bottom for record keeping**

**DEI Share**

* Voices of PSC-Thursday April 20th at 1PM (Teams): Dr. Lou Stolger will talk about reducing systemic biases through anonymized application processes. Dr. Stolger held a key role in developing the dual anonymous peer review process for observation time on the Hubble Space Telescope.

**Notes/Discussions:**

* **EFOG Future Meetings and Format**
  + In person meetings Date and Time will remain the same. 431 Conference Room
    - Owl will be set up for those that are not on site to attend virtually.
    - All personnel who are onsite should attend in person
* **FC Responsibilities Box link:** [**https://anl.app.box.com/folder/130739025670?s=9glyg69uo9rx0px8b4c3lguj2k8fbs7g**](https://anl.app.box.com/folder/130739025670?s=9glyg69uo9rx0px8b4c3lguj2k8fbs7g)
* FC shift log entries
* Beamline Downtime reports
* Reminder: FC Day shift hours: 8:30am to 5pm when not on shift during current Run Period

**Dark Period Planning**

* **EFOG meetings will be moved to Thursday at 10:30am starting at the beginning of dark period**
  + **Discuss delays, next week plans, CCWPs and WR.**
* **Exception to Max number of Vacation days**
  + Exceed 30 days until Dec 31, 2024 while still accruing
  + On Jan 1, 2025 if you are over 30 days you can still keep those days but you will not bank new days each month until you are under 30 days
  + Must be back under 30 days before Dec 31, 2025 or you will lose those days
  + Per [Vacation Donation (LMS-PROC-175)](https://my.anl.gov/esb/view/STELLENT/LMS-PROC-175) “Employees can donate accrued vacation time to either a general bank or to a specific employee who is in a prolonged absence without pay due to a serious medical condition, or who must take care of a seriously ill family member.**"**
* **Contractors are working 6am to 6pm currently 5 days a week.**
  + **Split Early/Late and shorten shift if 6th day is required**
  + **Schedule has been updated:** [**https://www.aps.anl.gov/User-Environmental-Safety-Health/FC-Schedule-next**](https://www.aps.anl.gov/User-Environmental-Safety-Health/FC-Schedule-next)**.**
    - **Only one person for Saturday: 8 hour shift**
    - **Shift 1: 6am to 2pm Clay, Ashley, Matt, Liz H.**
    - **Shift 2: 10am to 6pm Bruno, John, Steve, Shane**
    - **Toolbox Talk:** All contractors/workers, work leads, support staff, FC. Workdays 6am- 401/A1100 and 446 Conference room- Discus Work per POD, safety etc.
    - **POD (Plan of the day) meeting-** Work leads, contractor leads, work coordinators, FC. Workdays 4pm. TBD (Possible MCR)- Discuss work status/changes, schedule modifications, feedback, improvement, input to following day Toolbox talk
    - **POW (plan of the week) Meeting-** POW team including Rossi and Freedman-2-week forward look occurring on Thursday @230pm TBD-Discuss resource allocation, area restrictions, utilities/service interruptions-generate following week POW for publication and distribution by Friday Afternoon.
* **FCs during the dark time**
  + **Responsibilities**
    - RSS oversight
    - FE components move/harvesting
    - FE collimator removal/and new replacement
    - FE Exit Table move/harvesting
    - Bending Magnet move
    - Beamline work: DALD approval
      * Beamline Contractor oversight
      * Beamline resources oversight
* **Meeting with local FCs on WR and CCWPs during dark period-Phase 1. Removal of FE components**
  + **First CCWPs should be generated this week**
* **Storage/Clean up on the floor: Discussion in progress. Awaiting email from JPQ**
  + Trash day on April 17. Pre clean up. Will be a weekly occurrence
* **Which beamlines are starting early? 14-BM, 19-BM**
* **Approvals for work so far:** 
  + 14-BM, 22-BM, 19-BM and 17-BM: APS\_2278766
    - <https://icmsdocs.aps.anl.gov/docs/idcplg?IdcService=DISPLAY_URL&dDocName=APS_2278766>
  + Delisting of RSS components at 14-BM and 22-BM: APS\_2278765
    - <https://icmsdocs.aps.anl.gov/docs/idcplg?IdcService=DISPLAY_URL&dDocName=APS_2278765>
* Change in Operation status for 5BM: APS\_2283079
  + <https://icmsdocs.aps.anl.gov/docs/groups/aps/documents/correspondence/aps_2283079.pdf>
* **APS U WCD documents. Lifting Front End Components WCD 63354.1**
* **CCWP Routing/WRQs for Upgrade Related Activities**
  + The WRQ system will be in use as normal throughout. Work groups, including the newly-formed team under Robert Winarski, will be submitting WRQs prior to executing work. Be prepared to coach those who are new to the process.
  + Management has authorized two long-term APS techs to act in this capacity for beamline disassembly and component moves, all of which will be done by Robert Winarski's beamline team.
  1. Bob Wilson will be the MOM (Vacuum) Supervising Engineer
  2. CJ Sarne will be the MOM (Mech/Water) Supervising Engineer
  + Because SI and SA are less affected by Upgrade tinkering, we'll continue to route to those groups as normal, using the engineer or chief tech closest to the work as Supervising Engineer.
  + Once the facility is moving into re-assembly, someone will have to take responsibility for adherence to design, properly sourced and located flow meters, properly plumbed devices (for both air and water) etc.

**Experiments of Note**

**04/03/2023 - 04/10/2023**

* ESAF 269113 at 33-ID-D. Onsite users from ANL. 04/04/23 - 04/05/23. **Radioactive** **Materials**
* ESAF 269280 at 10-ID-B. Onsite users from ANL. 04/05/23 - 04/07/23. **Radioactive Materials**
* ESAF 267134 at 16-BM-B. Onsite users from LANL. 04/07/23 - 04/10/23. **Radioactive Materials**
* ESAF 266547 at 7-BM-B. Onsite users from SNL. 04/04/23 - 04/07/23.  **Energetic Materials**

**Information to pass along to group**

**Nena**

* Training: Check your training profile.
* EFOG procedures: A few are up for review. Email Kelly the status.
* Cassandra was granted TMS Superpowers for all of PSC and can now give credit for training that is done in house.
* Key Contact changes:
  + Mike Bracken is our MOM water and mechanical contact for operations.
  + Justin Hanley is the new FAC Maintenance Foreman
  + John Edwards is replacing Beth Heyeck as the APS Health Physicist


**Liz S.**

* EAs and Checklists – please give them to me as soon as you can

**Bruce**

* Several ESAF Vector requests for Jennifer: still in the queue.
* Looking at ESAFs.

**Liz H.**

* For FC web request delays due to an ANL problem (as opposed to APS server or AT&T), we should write an incident ticket in Vector and state that the delay affects APS beamline operations.
* Working on taking inventory of and reorganizing the FC storage cage in sector 3: <https://anl.box.com/s/2ooictgxwohijr48in0b8cwzujo1bwcm>
* Cost code that can be used to assist beamlines with disposing large items:
* 

**Bruno**

**Valid as of 3-27-23:**

* Sector 5: Completed WCD walk-through on 3-20-23. WCD will be developed shortly.
* 5-BM-B installation of a 480V outlet and related switch for APS Upgrade -- quote is being reviewed.
* Follow-up “dark period” move of experimentation from 5-BM-D to 5-BM-B.
* 5-BM-A to have very large beam flight path removed by Rigging Crew for The Upgrade.
  + Riggers waiting for other 5-BM-A equipment to be moved before removing the flight path.

Life Safety Instrumentation/Equipment & Hazardous Gas Monitoring News:

* KEEP IN MIND: Due to frequent LN2 venting, the following station mounted ODH monitors may alarm on a regular basis: 10ID-A, 21ID-D, 4ID-B (alarms cannot be silenced).
* Please be aware that portable O2 monitors are at 3IDA, 4IDD, 5IDB, 20IDA, 25IDB, 34IDA.
* I have installed an entire new Oxygen Deficiency Hazard Monitor then calibrated & tested it successfully at 28-ID-B, as of today 2-9-23, at the request of M. Frith for upcoming experimentation.
* As of today 3-7-23, and together with M. Frith(28-ID) we have wired in a loud horn & strobe assembly to the previously installed ODH monitor at 28-ID-B for upcoming experimentation.
* 25-ID: Began installing ozone monitors at 25-ID-C, 25-ID-D, 25-ID-E as of 3-8-23.
* 25-ID-B: Have received the shipment and will be installing a new series 1000 ODH monitor.
* 3-ID: Moving the series 1000 ODH monitor from 3-ID-B to 3-ID-A & removing 3-ID-B as legacy.

**Clay**

* Construction of Sector 8 & 9:
  + Stevenson/Caratelli off through March 20th, except for one tech.
  + 8ID: Internal utilities buildout under way
  + 9ID: No change
  + 9BM: FDR in the queue, date TBA (Expanded review with new guillotines).
* Recycling dumpsters will remain staged in 433 lot for Upgrade. Beamlines may use this for large metal items. Notify Clay/Wendy for any sizeable drop, like an equipment table. Shipping containers with the new 8ID/9ID hutch panels will also use this location for staging, and have been moved into place.
  + Cardboard bins in the 8ID/9ID area for metal recycling are available to all. Segregate appropriately – lead, copper, mixed steel/aluminum. Bins are labeled
* 11ID-D Laser Lab demo complete
* 11BM’s SR wall grinding project has passed FDR. Schedule is targeting the week of April 24th. Andy Stevens in progress on an SRO.
* Next machine shop certification – Friday, April 7th

**John**

* Building 364: All relevant items have been moved to temporary storage in building 365.
* 14BM-A disassembly (non-RSS) has begun. Process of how beamline work will be done is being discussed with Davey, White and VanWingeren.

**Matt**

* Working with Ashley on beginning stages of project involving wall cutouts for future LBB beamlines
  + Additional support has been welded and secured to metal installation on I-Beam in 435 truck lot
  + Remaining work includes installation of smaller door in LBB and wall cuts inside of 435E030
* 19-BM Upgrade preparation work in progress
  + Transport pipe removed up to C station
  + A station disconnects from exit table complete
  + Moving transport shielding into hallway for A hutch and rachet door access
* Watchdog in place in the MCR to monitor gap positions for IDs after 13 problem, 7-ID may alarm if they leave the epics screen on their computer open for too long and try to make a change, this will cause actual and desired energy to be off, remedy is BL staff simply closing window and opening again, MCR must report every time they see the alarm regardless.
* Almost completed phase 1 CCWP for 17-20 and 31-35 for FE disconnect, harvest, and removal

**Ashley**

* Scheck BPA SOW/WPC Updates:
  + Processed: Additional flange box removals for upgrade work; after April 17th: 11BM-A wall grinding (final detail in progress with IH).
  + Upcoming:
* APS-U folder created in our Shutdown and Start-up folder in BOX. Lots of useful information in there.
* If beamlines ask for the “yellow upgrade tags” for marking items of mezzanine to save, I have some.

**Shane**

* HVAC install of haz gas exhaust venting ongoing

**Steve**

**Wendy**

* If beamlines have scrap metal, wires (copper) or small amounts of lead that they want to get rid of please let me know.

**EFOG POC List**

* EFOG POC - Roadwork schedule and impact – Clay White
* EFOG POC - APSU Scheck BPA Fixed Price; SOW, WPC - Ashley Wayman
* EFOG POC - 8-ID/9-ID Decommissioning - Clay White
* EFOC POC- 9-BM Job Coordinator-Clay White, FC-Matt Spilker, CCSM Wendy VanWingeren
* EFOG POC - Sector 20 move out and move in - Matt Spilker
* EFOG POC - LBB – Ashley Wayman, Matt Spilker
* EFOG POC - Beamline metal/etc. recycling program - Wendy VanWingeren
* EFOG POC - Building Operations Team - Matt Spilker
* EFOC POC – Building 364 storage- John Mazzio
* EFOG POC- CAT ID beamline operation needs gathering-Ashley Wayman and John Mazzio
* EFOG POC- Beamline experimental needs during the Dark period-Nena Moonier and Liz Schmidt

**EFOG Safety Share:**

* Ashley – finding expired fire extinguishers; check tags on the fire extinguishers in your area
* Matt S. - Oversight of beamlines moving large items on pallet jacks. See 9/19 turnover notes for more detail
* Clay – only need fall protection when elevated; people can work alone elevated during normal working hours
* John M. - Lead cleanup: IH has requested that if the FCs are going to do cleanup that they get specific training to do so: Mike Fries is working on a WCD to encompass FCs in lead cleanup responsibilities
* John M - Several fire extinguishers were found to not have been inspected in many years. Working with ANL Fire Department on creating list of fire extinguishers in cages around the ring.
* Shane F. - 25-ID: moved large laser table; long stringers are a two-piece design and were lifting the table at the weakest point; do not assume that rigging is moving an item correctly; speak up if you feel a task is not being done correctly
* Clay W. - Work Requests: do not be afraid to edit work requests so that the scope of work is accurately captured.
* Clay W. - DEEI inspections of equipment are not enough for an experiment to proceed. Should also look at the whole setup from an electrical standpoint and may require a DEEI to look over set up
* Wendy V- Summary of shielding verification for sector 25: <https://anl.box.com/s/xoetfu2qtpb4yslv30mpdozwskuz5f40>
* Bruno F and Matt S- 33ID ODH Monitor event
* Bruno F Column 168 Users had large tank, pyramid do not stack cones, one attached sideways to a piece of equipment at eye level, so turned the point away to face the wall and to avoid someone getting poked in the eye.
* Ashley- to borrow Security’s campaign... See something say something. If something does not look right or you are not sure if it is acceptable, ask. Recent examples: beamline staff not wearing hard hat on scissor lift, garden hose running across handicap parking spots and side walk (trip hazard), lead work for beamline deconstruction.
* Matt-Sector 29 Fire blanket was smoking during a bake out. Fire blanket was old and removed from service. Be aware this is not a good source

**EFOG Discussions/Lessons**

* **Past Discussion:** [**Smart Card observations**](https://beam.aps.anl.gov/pls/apsweb/wam0002.COATS_MENU?i_pid=271490000302338) **and AES FY2023 Goals**

**Link to presentation: https://anl.app.box.com/file/1077535279568**

* **Work Request system discussion:** [**Link to slides**](https://anl.box.com/s/a9q0so14xobayg8wsdjtzo0u0kajl1xt) **(updated after 12/5 mtg)**
* **EFOG Shutdown Folder:** [**2022\_Dec Jan**](https://anl.box.com/s/l1umz6ils6r9vi4yx8j3dl7jn5n6p6iu)
* **EFOG Responsibilities: See above**