Present: Nena, Katy, Liz, Ashley, Matt, Wendy, Steve, Shane, Bruno, Bruce, John, Clay

**EFOG Presence onsite: 9/20/21-9/26/21**

Mon-Fri FC1: Bruno FC2: Clay

Evenings: John

Weekend: John

Vacation/DORs:

Katy 9/24

Shane 9/24

Steve 9/24

**Events from last week**

* 12ID-C regarding the periodic closing of their station C shutter. There are no signs of any previous faults, warnings or trips in either FEEPS, BLEPS, or PSS. Controls is looking into this issue. Will keep an eye on this situation.
* Users at 28ID reported their A station shutter has been randomly closing (no commands issues, no scripts running, no apparent warnings/trips).
* EFOG Lift hydraulic oil leak.

**Work on Experimental Floor - ongoing projects:**

* **See below for each FCs area**

**Items to look out for this Week**

* **Hazardous Gas Monitors**
* **Portable Oxygen monitors:** At 5ID-A and 20ID-A, please check for normal O2 levels (20.9%) and battery level ~2 times per week for on-shift personnel and please report to Bruno if there is a problem.
* **Portable Ozone Monitor:** At 33-IDE, please double check the wall mounted unit if it trips, please report to Bruno if there is a problem.
* **Portable CO Monitor**: At 10IDB, please check for CO levels (should be 0.0%) and battery level ~ 2 times per week, please report to Bruno if there is a problem.

**Other items to look out for this week:**

* **Eyewashes/LSI. Eyewashes** are due weekly and LSI are due at the end of the month.
* **Evening Shift reminder to send FC to MCR turnover email**
* **Prox Badges:** Staff and users must activate their prox badges by contacting the User Office (for users) or Ed Russell. The visitor office does not activate prox badges upon issuance. Call Connie Vanni (**630-951-8140** )for off hours prox card activation. Temporary prox cards must be signed out so they can be tracked. Remind resident beamlines to get their prox cards activated instead of issuing temp prox cards.

**25-ID ASL Status**

* 25ID-A shielding verification tentatively scheduled for October 2021
* Laser cabin work does not have a start date yet. They’ve received some budgetary estimates, but do not have a contractor lined up yet.
* Scheck working on water and air utilities
* SI has begun PSS work
* TBD – FMB Oxford Contractor visit. Outcome of contractor authorization to determine downstream hutch validation schedule
* Electrical is still ongoing

**LBB Updates**

* **Activities This Week:** Heat pumps were lifted into mezzanine, installation continues. After installation, concrete pad will be cut back to widen path as much as possible. Landscaping, drywall, and painting work.
* **Items to Keep an Eye on:**  none
* **Looking Ahead:**  Next 2 month look ahead will be in September/October. Once truck lock work complete, area will need to have fireproof paint applied. Paint is spray-on and will take 2-3 weeks to apply.
* **Scheduling:** Typically contractors work from 7:00 a.m. - 3:30 p.m. LBB updates can be found at <https://www.aps.anl.gov/Machine-Status/Construction-Schedule/long-beamline-building-construction-schedule>

**437 build out**

* Wall and door framing continues this week, slab pour completed last Friday
* Mechanical, electrical and plumbing hangers being installed this week

**APS Shutdown Feedback**

* QEW walkthrough findings
* Closeout meeting for the Aug/Sept Shutdown (2021-3) will be held Wednesday, September 22, at 0900

**APS Startup Recap**

**Experiments of Note**

* Limited Operations + with approved ANL onsite users from divisions outside of PSC and some onsite external users with PSC ALD and DOE ASO approval.

ESAFs with onsite users from ANL divisions outside of PSC have been approved by DOE ASO. ESAFs with external (outside of ANL) onsite users have been approved by both PSC ALD and DOE ASO.

**Experiments Running: 9/20/2021 - 9/26/2021**

**Special Experiments:**

* ESAF 244622 at 1-ID-E. Don Brown and Travis Carver from LANL onsite at APS. 9/20/2021 - 9/27/2021. **Radioactive Samples**
* ESAF 244708 at 35-ID-B. 10 total onsite users from LLNL and LANL onsite at APS. 9/21/2021 - 9/28/2021. **Energetic Materials**
* ESAF 241490 at 20-ID-C. Sector 20 beamline staff running **regulated soil samples** for mail-in users. 9/21/2021 - 9/25/2021.

**Round Table Discussion**

Nena

* **Increasing EFOG presence on site:** if you are not on shift for the week please be on site at least **3** days a week.
* A folder has been created in EFOG Shared in Box entitled [Floor Coordinator Responsibilities and Information.](https://anl.app.box.com/folder/131729137561)
* **Performance Appraisals: System will open for employee self eval Sept 8th -30th**
	+ **Release of final ratings and meet with employees must be completed by Dec 15**
* Westgate completion set for end of Sept
* Confirming the Lab’s Record of Your COVID-19 Vaccination Status
	+ Log in to My Health (available through MyArgonne dashboard).
	+ In the left-hand column, click on “Test Results” to expand options.
	+ Select “Results.”
	+ Select “COVID 19 (SARS-COV-2) Immunization Record.
* After Sept 20: Onsite Access for APS Users, ANL Employees, CAT employees, Contractors. https://my.anl.gov/esb/view/STELLENT/606815
	+ ANL Employees. Sept 19 all Vax uploads or Attestations completed
		- If not vaccinated will have to be in surveillance testing program or neg COVID test upon site entrance between Sept 19 to Oct 31.
		- After Oct 31. All ANL employees vaccinated or exemptions approved
* APS Users
	+ Allowed onsite only if on APS Approved ESAF
	+ Will have to go to AIC to show proof of vax or negative COVID test.
	+ If neg COVID test then will be given gate pass for three days and will need another neg test to continue onsite
	+ CAT employees
		- Must upload vax card, Same as Employees.. If not Vax must be in the surveillance testing program until Oct 31st.
		- After Oct 31st must either show proof vax card or neg COVID test within 72 hours.
	+ Contractors
		- Must show proof of vax or negative covid test

Bruno

* 7-ID-C: New AC being added to the hutch - The 7ID staff will now be working with Camelia Mititelu, a Mech./HVAC Engineer from FAC-BM, to tie into the existing HVAC connection from 7IDD and run it to 7IDC. This project is expected to be finished no later than the May 2022 Shutdown.
* 6-ID-C: Sprinkler System - Alex Smith from FAC- Fire Protection Services to put a design through Patti’s committee. FAC-Fire Protection is waiting for all high flammable hutches to be identified before designing the 6IDC fire suppression system.
* 5-ID-A did received their wall mounted ODH monitor. MOM will install the monitor.

Liz

* XSD-OPT (1-BM) TYSSR scheduled for September 29, 2021
* Email will be sent to beamlines on Monday, September 20 requesting submission of commissioning ESAFs for 2021-3
* 2021-3 USER RUN DOES NOT START UNTIL OCTOBER 4, 2021
* 2021-3 commissioning ESAFs – DO NOT post until OCTOBER 1, 2021

Ashley

* See above for LBB updates
* Issue with FedEx dropping off sampled dewars dropped off at random doors, outside of 436E door, etc.

Steve

* See 12-ID shutter issue above

Matt

* 435 Truck lot demo scheduled for Friday to unite LBB to 435, should take a couple of weeks
* Staff in LOM 434 D noticed multiple wasps in their D005 conference room. After investigation E. Russel was contacted and made aware of the situation. E. Russel will contacted grounds to handle the situation.
* BL staff member from sector 11 reported an oil / hydraulic fluid leak from a mechanical lift in the experiment hall. After investigation I discovered it was the EFOG lift outside of the 433 FC office. The leak was very minimal and had stopped but a 911 call was still made. Fire department, security, and waste management responded. The leak was cleaned up by waste management and disposed of.
* Sector 24 reported severe vertical and horizontal motion in their beam on the order of 60 microns at times. I contacted the MCR for more information. Issue resolved by L. Emery, multiple variables during startup caused beam instability. Sector 24 has confirmed that beam is now stable.

John

* Routine Rads will be scheduled with Katy’s help
* Chicago Cascade arrived this morning at 14 to complete some cold room repairs

Clay

* 9BM Focusing mirror installation project began 8/30; moving slowly but on schedule
* EFOG lift will remain out of service for the time being until repairs can be completed

Katy

* Inventory key list, updating ownership of keys and key list

Wendy

* Open Flame Permit process – will research the process a little bit more but we should all most likely be permit owners

Shane

* See above for 437 updates
* Sector 28-ID
	+ All surveys completed on installed door supplemental shielding. Removed AR for power limiting on the pink mirror.
	+ No further reports of “ghost” close commands after their beamline control staff reported a VME crate and disable their shutter interface.
* See above for 25-ID
* Energetic material experiment update
	+ HE portion of Purdue/Army experiment at 35 did not take place because of shipping delay
	+ LLNL/LANL team onsite at DCS this week for HE experiments

Bruce

* Continuing to look at ESAFs