Present: Nena, John, Matt, Katy, Ashley, Wendy, Steve, Clay

**EFOG Presence onsite: 11/8/21-11/14/21**

Days: M-Th Matt FCI, Fri Bruno FC1  
Mon and Wed John/FC2, Tues and Thurs Clay/FC2, Fri Steve/FC2  
Evenings Mon-Thu: Katy, Fri/John

Weekend: Sat: Bruno Sun: Ashley

**Vacation/DORs:**

Steve-FLMA Telecommuting 11/8-11/11

Liz-11/8-11/12

Bruno- 11/8, 11/10

John-11/09, 11/11

Wendy- 11/15-11/19

**Events from last week/Ongoing issues**

* Work on Sector 25 commissioning: Validation done today. National Elevator will certify crane in A station on Tuesday. BOA is being created. Looks like delay until next week for commissioning
* Steering issues at 35-ID resolved 11/2
* 4-ID-A guillotine work. Type C survey required. MOM group will work again during next week two day studies.
* 10-ID-B MSA gas monitoring system has been taken OUT OF SERVICE per request of J. Wright.
* 19ID water trip.

**Work on Experimental Floor - ongoing projects:**

* **See below for each FCs area**

**Items to look out for this Week**

* **Hazardous Gas Monitors**
* **Portable Oxygen monitors:** At 20ID-A, please check for normal O2 levels (20.9%) and battery level ~2 times per week for on-shift personnel and please report to Bruno if there is a problem.

**Other items to look out for this week:**

* Reminder 2021-3 run: **Increasing EFOG presence on site:** if you are not on shift for the week please be on site at least **4** days a week. If you are taking a Vac or DORs during the week please be onsite the reset of the week.
* **Eyewashes/LSI. Eyewashes** are due weekly and LSI are due at the end of the month.
* **Evening Shift reminder to send FC to MCR turnover email**
* **Prox Badges:** Staff and users must activate their prox badges by contacting the User Office (for users) or Ed Russell. The visitor office does not activate prox badges upon issuance. Call Connie Vanni (**630-951-8140**)for off hours prox card activation. Temporary prox cards must be signed out so they can be tracked. Remind resident beamlines to get their prox cards activated instead of issuing temp prox cards.
* FC web request page: \*\*PLEASE do a test at the start of each shift to the ‘END ESAF’ tab. Please put the time of request in the comments box so we know if there is a delay in the time it received by UES.\*\*

**25-ID ASL Status**

* 25ID-A shielding verification on schedule for 11/10-11. Prep work continuing.
* SI are currently working on the validation.
* FMB Oxford Contractor visit scheduled for 11/29.
* Bruno and Dennis will be working on crane certification on 11/9
* Water and air installations are still ongoing for downstream stations, but ready for shielding verification

**LBB Updates**

* **Activities This Week:** Lots of interior details being completed. External landscaping. Asphalt work will be completed today.
* **Items to Keep an Eye on:**  none
* **Looking Ahead:**  Demo of 435 E030 and 436 A020 lab to happen Dec/Jan shutdown.
* **Scheduling:** Typically contractors work from 7:00 a.m. - 3:30 p.m. LBB updates can be found at <https://www.aps.anl.gov/Machine-Status/Construction-Schedule/long-beamline-building-construction-schedule>

**437 build out**

* Drywall installation continues in North labs, south labs complete
* Plumbing insulation ongoing
* Roof curb install occurring today 11/8

**Experiments of Note**

* Limited Operations + with approved ANL onsite users from divisions outside of PSC and onsite external users with Beamline/PSC ALD approval.

**Experiments Running: 11/8/2021-11/15/2021**

**Special Experiments:**

* ESAF 246382 at 10-ID-B. Ken Kemner from BIO onsite at APS. 11/5/2021 - 11/11/2021. **Radioactive Samples**

**Round Table Discussion**

Nena

* **Increasing EFOG presence on site:** if you are not on shift for the week please be on site at least **4** days a week.
* A folder has been created in EFOG Shared in Box entitled [Floor Coordinator Responsibilities and Information.](https://anl.app.box.com/folder/131729137561)
* **Performance Appraisals:** 
  + - **Released to Employee around Thanksgiving.**
    - **Meetings set up first/second week of Dec. for PA**
* After Sept 20: Onsite Access for APS Users, ANL Employees, CAT employees, Contractors. <https://my.anl.gov/esb/view/STELLENT/606815>
* Deactivating ESAFs
  + John will continue his sweeps on Mondays, Wednesdays, and Fridays
  + Those on shift (FC1 and FC2) and evenings will deactivate as necessary while on shift
  + When posting an ESAF you can ask the beamline for the end date and time of ESAFs that have a date in the past that are in the hutch/cabinet
* Ron Tollner officially retired 10/31/21.

Bruno

* 10-ID-B MSA gas monitoring system has been taken OUT OF SERVICE per request of J. Wright.

Liz

* SER-CAT TYSSR conducted on 11/4/2021 - no items needing attention found during review
* 9-BM has submitted their commissioning ESAF. Both the APS and beamline have approved the ESAF. It is ready to post once they restart operations

Ashley

* See above for LBB updates
* APS396-Explosives Safety Oversight at APS-due 11/25- Nena to contact Elroy to do session during next EFOG Meeting

Matt

* See above for LBB updates
* PSS Trips today due to facilities working on DIW water sectors 14-17 and Sector 26.

John

* Routine rads have been scheduled for 2021-3

Clay

* 9BM Focusing mirror installation project began 8/30; moving slowly but a little behind schedule. Commissioning might possible be next week.
* EFOG lift will remain out of service for the time being until repairs can be completed

Katy

* Will be with John conducting rad surveys tomorrow (11/2)

Wendy

* Working with Tom Flanagan and Dave Wallis on lingering issues with FC Request page. \*\*PLEASE do a test at the start of each shift to the ‘END ESAF’ tab. Please put the time of request in the comments box so we know if there is a delay in the time it received by UES.\*\*
* Wendy on vacation 11/15-11/19. Will seek help for Sector 25 and 9-BM commisssioning

Bruce

* Continuing to look at ESAFs
* Waiting on User Office in order to close out 28-ID-C vector request
* Working on changing access for mail-in user (un-graying the box in ESAF) and updating EHCP

Shane

* See 437 build out update
* See energetic materials experiment information