**EFO Group Meeting 7/29/2019**

Schmidt, Vanwingeren, Mazzio, Flood, Berkland, Wyncott, Moonier, Fieramosca, Pedergnana, Rossi

White-Off

**Patti**-6-ID. CCRT held on 7/25/19. Several issues caused the postponement of the SV until tomorrow for both the extension and beam. After SV there are several welding jobs to be done which will require an extensive type C survey.

2-ID CANT Project to start in shutdown, will let us know when RSS tags should be removed. Look for WRs and a chance to use e traveller system. NENA to ask someone to come to our next meeting to go over the e traveler system.

25-IDA start in November 2019

28-ID Utilities- Electric is out to bid

**Liz**- Sector 4 walkthrough was completed. General housekeeping issues found

USDA Rick gammons will visit to sign and issue transfer of permit from Lisa to Liz.

Helping Wendy with Rad set ups and tear downs.

**Bruno**-Installation of new ODH monitor at 31-IDB (john Koss) Monitor has been installed and calibrated

Bruno asked about the Medical surveillance for Be Worker and Industrial Truck Operator. Those who have the requirements please call medical to set up an appoint for surveillance.

Sector 5 incident: isobar sparked and didn’t trip. The Panel did trip but not the isobar. Al Kikilas and Fries to investigate further.

**Wendy-** 6-ID getting reading for shielding verification. Will close out Clays CCWP. SV mostly likely after 10:30am tomorrow.

Work requests are coming in, please approve before Wednesday Shutdown meeting

Rad-10-IDB (Kemner) 17-BM? If it can occur

**Shane**- Scheduled clean up of 28ID area. Will have IH come to do a survey.

9-ID HE shipment.
Shutdown Planning held 7/24/2019. Please see Shane’s email for an update:

20-BM work will be done during shutdown.

**SWITCHGEAR MAINTENANCE: X-6 shutdown on 9/6, CNM shutdown on 8/24**
 **AUTOMATIC TRANSFER SWITCH TESTING: 8/29
APS Evacuation Drill: 8/27 at 9am**

**Paul**-nothing to report: Follow up on 433/434 gas yard and hutch ventilation mesh work.

**John**-

**Lisa-**

**Dean**-Working on 6-ID Shielding Verification. 2-ID CANT meeting held weekly. See Shane’s email for updates. Work will be done during shutdown. Last 2 Routine Rad surveys scheduled for this week

**Gentle Reminder:**

Check your area ESAFs in the table vs the beamline cabinets.  Please be diligent about deactivating ESAFs that can be and removing them from the cabinet and table.

Also after any studies please make sure you reset PSS faults/trips that occurred from work in your area before the start of User Beam.   This will eliminate extra calls during a busy time.

Work Requests are coming in for shutdown work. Please approve your areas as they come in.

**Action Items:**

Clay and John-continue to follow up on Paul Rossi's request for compressed gases in the 434/435 truck lot.  See if Oxidizer cabinet can be ordered and placed 20 feet away from other gasses.

ALL FCs-  Please give Wendy the drop locations for switchgear maintenance.  Wendy needs to compile this list for Ron Moore so MOM group has an idea what will be needed.   We need estimations.