ARGONNE NATIONAL LABORATORY

LIFE SAFETY / FIRE INSPECTION CHECKLIST

Date:	Inspection for Month:	Year:

Building:	Area/Wing:

Fire Protection System	OK	Not OK

Storage under sprinkler heads

Pipes/Heads free of hanging mat’l

Alarm panel Access

Sprinkler/Detector heads

Exits/Corridors not obstructed

Fire-rated doors not blocked open

Door in exit path operable

Stairs clear and serviceable

Fire extinguisher or signs visible

Fire extinguishers not obstructed

Electrical

Access to electrical panels

Emergency Lighting	OK	Not OK

Lighted Exit signs working

Housekeeping

Areas orderly and free of debris

Exit doors/stairs free of obstructions

Flammable/Combustible Liquids

Storage cabinets

Storage rooms

Lab/Shop use

Compressed Gas Cylinders

Properly Secured

Fuel/Oxidizers Separated

Location	Description	MSR /Action

Inspection By:

Cc:	Building Manager

Division ESH Coordinator